Review

Critical aspects of energetic transition technologies and the roles of materials chemistry and engineering.

Guido Busca 1

Citation:. Energies 2024, 17, x. https://doi.org/10.3390/xxxxx Academic Editor: Firstname Lastname Received: date Accepted: date Published: date Publisher’s Note: MDPI stays neutral with regard to jurisdictional claims in published maps and institutional affiliations. Copyright: © 2021 by the authors. Submitted for possible open access publication under the terms and conditions of the Creative Commons Attribution (CC BY) license (https://creativecommons.org/licenses/by/4.0/).

1 	Dipartimento di Ingegneria Civile, Chimica e Ambientale, Università di Genova, via Opera Pia 15, 16145 Genova, Italy; Guido.Busca@unige.it

*	Correspondence: Guido.Busca@unige.it; Tel.: +39-3292104505.

Abstract: The perspectives of technological advances need for short term energetic transition are briefly reviewed and discussed critically. In particular, the technologies for the greenhouse gas emission – free production of electrical energy, its storage and transport, the production, transport, storage and use of hydrogen,  and the use of biomass derived technologies are shortly and critically reviewed. The role of chemistry, and in particular materials chemistry and engineering in the short-term developments are underlined.

Keywords: energy transition; industrial chemistry; chemical engineering; materials chemistry; materials engineering; sustainability.

1. Introduction

Although not all investigators are fully convinced of this [,], it is common opinion today that the evident global warming effect is mostly due to anthropogenic emissions of greenhouse gases (GHG), in particular CO2 coming from combustion of fossil fuels. This forces to an urgent technological revolution towards zero GHG emissions, in particular in the energy production and use sector, although this implies significant risks [].

On the other hand, although some new technologies are ready to be used to substitute previous ones generating large amounts of GHG, a number of other technological solutions are at the moment only hypothesized, being still at early levels of development and readiness. It is also sure that the use of social media to spread partial information and advertising, mixed with normal technology and science information, results in confuse pictures, where the differentiation between real perspectives, good ideas and dreams is not so easy. This is particularly harmful for politicians, which are hurried to take decisions or to define and fund technology development programs. It is also necessary to underline that self-sustainable technologies must be finally developed, when state funding and incentives will no longer be possible.

In Table 1 data for global CO2 emissions by activity sector are compared, as reported by Dou et al. [], evaluated according to GRACED technique, and coming from IEA (International Energy Agency []).

The data agree indicating that the production of power for heat and electricity generation, and the direct consumption of fuels for industrial and residential energy ad heat production, are the activity most involved in CO2 emissions (> 70 %). Transport sector, instead, is primarily definitely less involved, with a main impact of ground transportation and a more limited one for shipping and aviation. Among industrial activities directly contributing to CO2 emissions, steelmaking, cement manufacture and petrochemical industries are mostly involved.

Table 1 Comparison of CO2 emissions by sector from Dou et al.  and IEA in 2021 (Gt of CO2)

| Dou et al. [4] |  | IEA [5] |  |
| --- | --- | --- | --- |
| Sector | Gt | Gt | Sector |
| Power | 14.1 | 14.6 | Electricity and Heat Production |
| Industry | 10.3 | 9.4 | Industry |
| Residential Consumption | 3.5 | 1.7 | Residential Consumption of Building Sect |
| Ground Transport | 6.3 | 6.1 | Road+Rail+Pipeline Transport |
| Domestic + intern. Aviation | 0.6 | 0.7 | International Aviation |
| International Shipping | 0.7 | 0.8 | Interational Shipping |

2.	Decarbonization versus defossilization. On the use of biomasses in the energy transition.

The term most commonly used to define the next energy transition is “decarbonization” [], which would imply the abandonment of all technologies that emit carbon oxides and hydrocarbons. Others, however, prefer to point out that the elimination of technologies that emit fossil-derived carbon compounds only, is needed. Technologies emitting carbon oxides of atmospheric origin do not contribute to the accumulation of greenhouse gases, and could still be useful. This is why we may talk about “defossilization” []. The latter approach would allow the use of biomass (lignocellulosic matter, as well as food, agricultural and garden wastes, livestock waste, biogas) as energy sources, which would be excluded by who push for full decarbonization.

The main limit of the biomass-based approach to produce fuels and energy lies in the supposed small availability of non-edible plant raw materials that are not competitive with the food market. Additionally, deforestation must be avoided. In fact, authors agree that careful management of natural resources and forests could make it possible, especially in some countries [,], to make large quantities of biomass available without reducing the mass of living and breathing plant material.

On the other hand, policies of fertilization, promoting the cultivation of energy-related plants in arid and desert areas, are also considered and can even allow a significant growth of living and CO2-consuming vegetal mass, together with the availability of biomass (e.g. wood and inedible oils [,]) for chemical purposes and help to economies of underdeveloped countries [].

Additionally, the hypothesized production of algae in large quantities for energy purposes is a technology yet to be developed commercially. It presents difficulties and problems, including environmental ones, that have not been resolved, but are still considered as promising [].

The conversion of lignocellulosic and algal biomasses may allow the production of  energy and fuels, as well as of chemical intermediates to feed industrial chemistry. This is the case, e.g., of bioethanol, a biofuel that can also be efficiently converted into bio-ethylene, i.e. the same molecule which is today the main petrochemical intermediate, at the origin of the production of many chemicals [].  Similarly, bio-propylene [] and bio-aromatics [] can also be produced from biomasses, thus allowing the hydrocarbon based industrial organic chemistry to survive to energy transition and defossilization.

Capturing and exploiting biogases represents another way of using biomass, in the form of wastes, for energy purposes []. After a relatively simple purification process, biogas can be burned to produce energy or heat, or it can be upgraded to biomethane, which can be introduced into the gas grid and used like natural gas, for example to produce hydrogen [].

Excluding these technologies a priori seems more the result of a dogmatic position, perhaps influenced by the enormous commercial interests involved, rather than the result of a rational and scientific approach. As we shall see, at least in the foreseeable future, it will not be possible to exclude biomass-based technologies to fully cut GHG emissions.

3. 	Criteria for the evaluation of technologies, in particular for the production of energy.

The evaluation of the reliability and friendliness of technologies, in particular but not only “green technologies” to produce electrical energy, can be done with respect to a number of different criteria.

3.1. Technological readiness.

The evaluation of the real availability or of future perspectives of technologies is usually quantified in terms of TRL (Technology Readiness Level). According to many authors or entities, including the European Commission [], TRL ranges from 1, when a basic idea is proposed, to 9 when industrial exploitation is raised. According to IEA the final step is at TRL = 11, when a technology developed at industrial level also demonstrated long term stability, with the intermediate value of 10, when the technology still needs further integration efforts (Table 2 []).

Table 2. Technology Readiness Levels, according to IEA

| TRL | European Union [19] | IEA [20] |
| --- | --- | --- |
| 1 | basic principles observed | Initial idea: basic principles have been defined |
| 2 | technology concept formulated | Application formulated: concept and application of solution have been formulated |
| 3 | experimental proof of concept | Concept needs validation: solution needs to be prototyped and applied |
| 4 | technology validated in lab | Early prototype: prototype proven in test conditions |
| 5 | technology validated in relevant environment (industrially relevant environment in the case of key enabling technologies) | Large prototype: components proven in conditions to be deployed |
| 6 | technology demonstrated in relevant environment (industrially relevant environment in the case of key enabling technologies) | Full prototype at scale: prototype proven at scale in conditions to be deployed |
| 7 | system prototype demonstration in operational environment | Pre-commercial demonstration: solution working in expected conditions |
| 8 | system complete and qualified | First-of-a-kind commercial: commercial demonstration, full-scale deployment in final form |
| 9 | actual system proven in operational environment (competitive manufacturing in the case of key enabling technologies; or in space) | Commercial operation in relevant environment: solution is commercially available, needs evolutionary improvement to stay competitive |
| 10 | -------------- | Integration at scale: solution is commercial but needs further integration efforts |
| 11 | -------------- | Proof of stability: predictable growth |

It can be noticed that, in the past, many technologies, previously considered very promising, never reached the commercial level (thus stopping at TRL  8) while other technologies, having reached the commercial level, were shortly abandoned having proved to contain bugs, be uncompetitive or even harmful. On the other hand, it can be seen that some technologies, that are presented today as reliable alternatives to the actual ones, are still sometimes at very low level of development and readiness. A main example is nuclear fusion technology, which is presented as the future way to produce infinite energy without environmental impact, and that is the object of an impressive development work [,]. In spite of this, up to now nuclear fusion experiments nuclear fusion experiments did not produced energy for more than few tens of seconds. Thus nuclear fusion as a energy production technology is still evaluated to be at TRL 2-3 [] (still its practical feasibility is not proven). The  real environmental impacts [] and safety risks [] are, consequently, still not fully known, although they are certainly not negligible.

3.2. Additional criteria for technology evaluation.

A number of other criteria must be taken into consideration when applicability of technology are evaluated. In Table 3 a list of such criteria is reported, together with references where some of such criteria are comparatively evaluated. In the next chapter we will analyze different technologies also taking into consideration these criteria.

Table 3. Criteria for technology evaluation.

| Criterium | Ref. |
| --- | --- |
| Readiness level. |  |
| Continuity versus discontinuity. |  |
| Predictability versus unpredictability. |  |
| Application constraints |  |
| Materials intensity | , |
| Land occupation and land use change | , |
| Effects on human health | 26,, |
| Impact on ecosystems | 26,31 |
| Water use or consumption. |  |
| Safety risks | 32 |
| Diminishing land aesthetic values and loss of habitat quality. | 26 |
| Social effects: job creation and people satisfaction | 27 |
| In life and end-of-life management of devices |  |
| Capital costs, operational costs, lifetime, levelized cost | 26,27, |

4. Evaluation of virtually “zero GHG emission” electrical energy production technologies.

In Table 4 the most used power generation technologies are summarized together with the energy produced in 2020 using them, according to British Petroleum []. From these data it is clear that more than 60% of the globally produced energy arises from fossil fuels. It is evident that decarbonization of the electric energy production implies a strong increase of the use of renewable technologies. On the other hand, another important fraction (around 10 %) comes from nuclear fission, whose phase out is also considered welcome by many experts.

Additionally, in the near future electric vehicles and electrolytic hydrogen fueled vehicles will likely become most used, implying a further significant increase in the need of stationary electrical energy production.  It is evident that the decarbonization of the electrical energy production implies the significant increase and further development of the already available “green technologies” and may be the development of several others. According to Tamor and Stechel, carbon neutrality in 2050 for the USA implies quadruplication of electrical energy production as well as the production of amount enormous amount of biofuels []. From table 4 it becomes also clear that also technologies that in principle do not emit CO2, are actually responsible for its emission, e.g. in the system building steps. This is the case of hydropower, which may consume enormous amounts of cement and building materials which are produced with relevant CO2 emissions, as well as of silicon-based photovoltaic, due to string CO2-emitting silicon manufacturing technologies.

| Fuel | Technology [27] | Emission kgCO2/kWh [] | Life Cycle Emission gCO2eq/kWh [] | Energy production in 2020 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | TWh [35] | % |  |
| Coal | Pulverized hard Coal | 0.943 | 1095-912 | 9421.4 | 35.1 | 61.3 |
|  | IGCC hard coal |  | 912-753 |  |  |  |
|  | Lignite |  |  |  |  |  |
| Natural Gas | Combined Cycle | 0.474 | 513-403 | 6268.1 | 23.4 |  |
|  | Single Cycle |  |  |  |  |  |
| Oil | Heavy Fuel Oil burners | 0.738 |  | 758.0 | 2.8 |  |
| -- | Hydroelectric |  | 147-6 | 4296.8 | 16.0 |  |
| UO2 | Nuclear Fission |  | 5-6 | 2700.1 | 10.1 |  |
| -- | Wind |  | 23-8 | 1591.2 | 5.9 |  |
| -- | Solar PV |  | 83-23 | 855.7 | 3.2 |  |
| -- | Other renewable |  |  | 700.1 | 2.6 |  |
| Total |  |  |  | 26823.2 | 100.0 |  |

Table 4. Power generation technologies and their application in 2020.

In Table 5 data on the “green” technologies are summarized, together with data concerning their development state as well as of the drawbacks or limitations they present. In the following we will take into consideration the most promising technologies for widespread use, and we will point out drawbacks and merits.

4.1 Nuclear fission technologies.

The so-called "slow neutron" technology is the nuclear technology widely used today for the production of electricity [], applied since the 50s of the twentieth century and which today is made with more than 400 reactors in the world. It is certainly a mature technology (TRL 11 according to the IEA) [23] but it finds its main limit in the potential big risks of emissions of radioactive material in the event of an accident, and, maybe above all, in the concern that these risks generate in the population. In fact, the number of significant accidents in nuclear power plants has been extremely limited so far, as has the number of deaths directly caused by the accident itself. However, it is more difficult to assess the number of deaths caused by the radiation emitted, as well as the resulting psychological effects, and to compare them with the not insignificant number of fatal accidents caused by other technologies, such as, for example, natural gas explosions. The accident occurring at reactor four of the Chernobyl nuclear power plant on 26 April 1986 released massive amounts of nuclear fuel and radioactive matter into the surrounding environment and is considered to be the worst nuclear accident in history []. The direct deaths in the accident were around 30, but at least 9,000 cancer-related fatalities were estimated to occur as a result of radioactive emissions []. Estimation of the effects of the Fukushima accident, occurred on 11 March 2011, caused by the Tōhoku earthquake and tsunami, is even more difficult. In this case most of the limited radioactive emissions were in the ocean, and directly caused fatalities were essentially zero, with very limited health effects in the region. However, indirect deaths occurred, in particular at least 164,865 residents of the surrounding area were permanently or temporarily displaced as a result of the incident, and this resulted in at least 51 casualties, mainly in old and sick people []. Surprisingly, in some literature the 18000 deaths caused by the Tōhoku earthquake and tsunami are incorrectly attributed to the Fukushima accident. In any case, the effect of the risk associated to the Fukushima accident was decisive for influencing negatively the policies with respect nuclear fission technologies, e.g. in Germany [].

Indeed, the entire technological chain of nuclear fission technologies is critical from the point of view of the effects on human health, being based on the extraction   and processing of uranium-based radioactive minerals, on the production and transport of radioactive nuclear fuel, of a weakly radioactive waste (depleted uranium) and of highly radioactive waste (spent nuclear fuel). This technology is supported by rather low operating costs compared to moderately high capital costs for the same installed capacity, continuity with the consequent stabilizing role for the grid, and limited land occupation (see refs. in Table 3), and still has perspective as decarbonization technology [].

Various advanced types of SMRs (Small and Medium Reactors, or Small Modular Reactors), e.g. those with power up to 300 MW-electric (MWe), are currently under development worldwide [], including the promising SMART (System-integrated Modular Advanced Reactor Technology) technology [].They are characterized by integrated design, passive safety systems, design modularity, operational flexibility, and versatile applications and, although still not commercialized, may offer further economic and flexibility advantages in the future [].

The advantages of fast neutron nuclear fission technology, already used at a limited extent and still under development (TRL 8-9 according to IEA [23]) are essentially based on the fact that the isotope enrichment process is avoided and there is a greater consumption of nuclear fuel, with a strong reduction in the production of radioactive waste.

It must be borne in mind that the lifespan of nuclear power plants is limited to about fifty years, and that the problem of dismantling the many obsolete nuclear reactors is now becoming urgent [].

Table 5. Power energy production technologies allowing poor or no production of CO2, their readiness levels and their drawbacks and limits. TRL are according to IEA [23].

| Technology |  | TRL (IEA) | Drawbacks / application constraints |
| --- | --- | --- | --- |
| Hydropower |  | 11 | Limited to hilly or mountainous territories rich in water, in poorly populated areas. Strong environmental impact and limits to soil use. Already largely employed in several countries |
| Photovoltaic | Crystalline Silicon | 9-10 | More efficient in high solar irradiance areas, need for availability of large areas, limited coupled use of land. Limited roof orientation availability. Discontinuous. |
|  | Perovskite | 4-5 |  |
|  | Thin film | 8 |  |
|  | Organic thin film | 5-6 |  |
| Wind | OnShore | 9-10 | Limited to continually and strong windy territories. Limited coupled use of land. Discontinuous. Limited to protect human health, landscape and avian fauna. |
|  | OffShore | 8-9 | Limited to continually and strong windy sea areas.Need for available sea areas, limited coupled use of such marine areas. Discontinuous. Limited to protect landscape and avian fauna |
| Hydrogen | Gas Turbine | 7-9 | Transforms energy with low efficiency, without producing it. |
|  | Solid Oxide Fuel Cells | 8-9 | Transforms energy without producing it, low durability. |
| Geothermal |  | 11 | Limited to territories with near surface hot water/steam sources. |
| Ocean |  | 4-7 | Limited to sea areas with high temperature differences (OTEC) or large waves. Limited coupled use of such marine areas. Possible landscape damage. |
| Tidal |  | 9 | Limited to coastal areas with high tides. Limited coupled use of such marine areas. |
| Nuclear Fission | Slow neutron | 11 | Radioactive raw materials, spent fuel and byproducts. Risks of radioactive matter loss. |
|  | Fast neutron | 10 | Radioactive raw materials, risks of radioactive matter loss. |
| Nuclear Fusion |  | 1-3 | Still at very early stages of developments, safety limits and practical production conditions still not well established. |
| Coal with CCUS |  | 9 | Limited by usability of CO2 and possibility of storage |
| Natural gas with CCUS |  | 8 | Limited by usability of CO2 end possibility of storage |
| Biomass | Combustion | 10 | Limited availability of large mass of un-edible biomass. Pollutant waste gases |
|  | Gasification and combustion | 8 |  |

4.2 Hydropower technologies

Hydroelectric power is also a technology that has been widely tested and stable for over a century (TRL 11), with a fair degree of continuity and predictability, although it can be negatively affected by drought phenomena or by discontinuity in the flow of the watercourses used. The capital costs are quite high but the operating costs are low. Among the limitations of hydroelectric power, we note that it is a technology limited by the nature, necessarily mountainous or at least hilly, of the territory, by the needed richness of water, and by the strong occupation and limitation of the use of the land itself, although the impact on the aesthetic value of the territory can often be considered positive (many artificial lakes have considerable tourist value). This technology is also associated with the use of large amounts of water, and with a considerable consumption of materials being based on structures of often gigantic dimensions. It should be noted, however, that this technology is already widely exploited in many countries (in particular in Italy) and is therefore almost saturated, as there are not many suitable watercourses yet to be used, at least for large plants. However, it has been reported that only 25% of the existing 45,000 large dams in the world are currently used for hydropower, and the other 75% are used exclusively for other purposes (e.g., irrigation, flood control, navigation, and urban water supply) [].

It must be taken into consideration that hydropower plants may have an important role in electric grid stabilization. Besides its usually stable behavior, they can be used to obtain pumped hydro storage, that represents the main technique for large scale energy storage today: 96% of energy stored globally today is obtained with this technique, i.e. repumping water on top of the dam when grid energy consumption is low [].

4.3 Photovoltaic technologies.

Both roof-mounted and ground mounted crystalline silicon photovoltaic (PV), which represents the usually available PV technology today, are already well developed and largely applied, although they are certainly still in some way under further development (TRL = 9).

Silicon is the most widespread element in the earth's crust after oxygen, in the form of dioxide-based or silicate-based minerals. To obtain the photovoltaic effect, however, hyperpure crystalline elemental silicon (99.99999%) is required, manufactured through an extremely energy-intensive process, which is currently carried out mainly in China []. Silica sands are reduced with coke in electrothermal furnaces at 2050°C, producing highly impure metallurgical silicon. Complex refining processes are carried out to produce PV-grade silicon, by converting impure silicon to trichlorosilane with hydrochloric acid at high pressure, distilling, condensing and decomposing it at 1200 °C in the presence of hydrogen, and then crystallizing amorphous to polycrystalline silicon. To produce monocrystalline silicon, the crystal growth stage, realized at its melting temperature  (1414 °C) is added, resulting in an additional significant increase in energy consumption []. The result of all this is that the production of solar grade silicon is among the most energy-intensive processes in the industry [], with an electricity consumption of over 200 kWh/KgSi, a coal consumption of 27 KgC/KgSi, and significant CO2 emissions: 84 KgCO2/KgSi []. Depending on the type of silicon used and where it is used, a photovoltaic panel takes the first 2 to 8 years of use to produce the energy that has been consumed in its manufacturing process [,]. Despite this, the cost of solar-grade silicon is not particularly high (less than 10 €/kg), but it constitutes only a part of the cost of the single module [], which also requires significant quantities of steel, copper, silver and aluminum, special glass, adhesives, etc. On the other hand, the cost of the panel represents approximately only 35-50 % of the cost of the entire plant, which increases significantly if it is equipped with an energy storage system, such as lithium-ion batteries. Additionally, the efficiency of PV technologies is intrinsically low, with a maximum energy efficiency (the percentage of incident solar energy that is actually converted to electricity) of silicon PV above 25 % in optimal conditions, but ranging from 18%–22% for industrial panels under standard test conditions.

Among the other drawbacks of photovoltaics are: (i) its day/night discontinuity, which strongly further reduces its energy efficiency and strongly destabilizes the electricity grids, or implies the adoption of expensive energy storage systems; (ii) its unpredictability with respect to climatic phenomena; (iii) the geographical dependence of its efficiency, much higher in tropical areas where radiation is strong, and medium in temperate areas and minimal in polar areas; (iv) some health risks arising from the use of toxic materials and their mining and metallurgy processes.

The result is that the capital cost per energy produced of photovoltaics is quite high: according to some authors, polycrystalline silicon photovoltaic technology is by far the one with the highest capital costs for the same installed capacity [34]. Although the operating costs are quite low, the maintenance costs (e.g. frequent cleaning of the panels necessary to maintain good efficiency, which consumes a considerable amount of water, and electrical checks to limit the non-negligible risk of fires) are not negligible, especially for "roof" photovoltaics. Thus, taking into account that the lifetime of silicon PV -panel is guaranteed today for 25 years, the current levelized cost of photovoltaic technologies, although strongly decreased over the years [], and expected to continue to decrease, is still comparable to or higher than that of fossil technologies [].

In practice, photovoltaics can be built "on the ground" or "on the roof". It is clear that ground-mounted photovoltaics produce a strong occupation of land or a strong limitation of its use [], and it is hardly compatible with highly populated and man-made areas, as well as with forests and agricultural activities. If carried out in non-anthropized areas, it has a significant negative effect on the fauna [32], as well as, obviously, on the flora. Large photovoltaic farms, even if built on deserts, can also produce important global climate modifications [], and are strongly negatively affected by dust storms [].

On the other hand, rooftop photovoltaics have very strong limitations, at least in historic cities, since roof surfaces are actually small compared to population density, and only a small fraction of roofs have a favorable exposure to high photovoltaic efficiency [28],  and is not used otherwise. Rooftop photovoltaics can be better coupled with activities that use low-lying structures with a high roof surface area such as those of industrial warehouses, farms, parking lots, etc. []. However, for many fairly energy-intensive companies, the roof area is often largely insufficient to produce through photovoltaics the electricity consumed.

It should also be noted that silicon-based panels are subject to damaging in the presence of strong windstorms and strong hailstorms, and that the recycling of solar-grade silicon and other components from non-functioning panels is not currently being carried out in a significant way. These panels are accumulating and are expected to reach very significant quantities of photovoltaic waste [].

The use of other materials for photovoltaic, such as silicon thin films, CdTe, organic thin films, perovskites [], can contribute in improving energy and limiting energy costs of panels manufacturing. In particular, perovskite photovoltaic materials (still far from commercialization, TRL = 4-5 [23]) have the potential of improving efficiency, but suffer instability and deterioration under wet conditions, which is the main limit to industrialization. These materials, whose formula is ABX3 structure, where A is a monovalent cation (methylamonium, formamidinium, Cs, or Rb), B is a divalent metal cation (Pb, Sn, and Ge), and X is a halide anion (I, Br, and Cl) may have some drawbacks in the use of lead, quite a pollutant metal []. Also, their best manufacturing technology at industrial level is still to be evaluated in terms of energy consumption and environmental friendliness, and developed.  Organic photovoltaic technologies (TRL = 4-5 [23]) have also great potential but significant drawbacks too, such as low efficiency and durability, degradation or malfunction at high temperatures, supply chain still to be identified and developed [].

4.4 Wind technologies

Wind technologies find their maximum efficiency in the presence of strong and continuous winds. This makes them very efficient technologies in areas such as the North Sea and the north of Scotland in Europe. On the other hand, the efficiency of wind power in areas usually free from strong winds is considerably limited and has a strong climatic discontinuity and uncertainty. Its discontinuity may have a strong negative effect on the stability of the networks. Wind power also has marked limits in its health effects that make it incompatible with populated areas, associated to swishing, whistling, or throbbing noise from moving gear trains and turbine blades resulting in annoyance, sleep disturbance, and reduced quality of life of people living nearby []. The weakest element of the structure of wind farms are the blades, which are made of sophisticated composites of plastics and glassy materials. However, the blades are subject to erosion, and have an average life estimated at 20 years. The detachment and collapse of the sometimes enormous size of the most powerful turbines also gives rise to a certain risk of serious accidents. Significant negative effects of wind power on the environment are also well evident [], with impacts on the life of birds, due to their collision with the blades [], while their building may imply some deforestation, and  impacts regional climate mainly causing heating in nighttime due to mixing of the boundary layer [].

Wind technologies generate also limitations of land use (or of the sea usage in the case of off-shore wind), and the reduction of the aesthetic quality of the territory or of the sea. Additionally, they are associated to a large consumption of materials [] due to the size of the structures (concrete bases and steel structures for on-shore wind), magnetic materials based on rare earths, lubricants, conductive metallic materials, composite materials for blades.

The capital cost for wind technologies is high, particularly for offshore installations in deep-sea areas [], and the lifetime, at least for blades, relatively short. Thus, the levelized costs of wind energy are today comparable with those of technologies based on fossil raw materials, and are and will be in any case considerable in the future.

Waste is also accumulating of these materials, consisting mainly of worn or broken blades, as technologies for the recovery of materials from them have not yet been developed [].

4.5 Biomass-based electrical energy production technologies.

Wood has been used for thousands of years as a fuel for heating homes and for powering kitchens. In reality, this "technology" is not optimal for human health, because wood smoke is highly polluting and toxic, containing many volatile organic compounds (VOCs), some of which are highly toxic (e.g. benzene and dioxins), as well as unburned dust []. However, technologies have been developed that allow the abatement of pollutants from wood smoke in biomass-based power plants, as well as waste incinerators [], which represent today a commercial technology for energy production (TRL 10).

Gasification [] represents an alternative to produce energy from biomass and biomass-based wastes, by reaction with water. However, due to the high oxygen content of biomass (about 40 % oxygen) and the content of alkali metals (Na and K) [], biomass gasification produces a combustible gas containing hydrogen and CO, but very dirty, with VOCs and volatile alkaline compounds (tar). This gas can still be burned to produce energy, but its purification to produce hydrogen or a cleaner syngas is very difficult and makes the process complex [], and this is the main obstacle to commercialization (see below).

As already mentioned, the main limitation of these technologies lies in the real availability of biomass, which is limited in many places, and in any case in the care necessary not to limit the amount of living plant mass and not to limit food production.

4.6 Making green fossil fuels based technologies by CO2 capture and utilization or storage.

The “greening” of fossil fuel thermal energy production, by adding the step of CO2 capture and utilization or storage. CO2 can be separated, in principle, from combustion flue gases [] or even directly from air []. The technologies under study are scrubbing, adsorption or membrane technologies and are not far from industrial development [,], although the further steps concerning CO2 reuse or storage, maybe also technically feasible just today. It must be mentioned that such processes imply energy consumption (parasitic energy) and costs that reduce efficiency of the energy production process significantly []. A number of CO2 utilization or storage technologies are under studies, although they have low TRL []. Another weak point of this approach consists in the limited room for storage or reuse enormous amounts of CO2 []. Some storage and reuse systems are reported in Table 6 together with their technological readiness levels, mostly reported by reference [85].

Table 6. Technologies for CO2 reuse and storage

| Technology | TRL |
| --- | --- |
| Chemicals from CO2 (urea, methanol, polycarbonates……) | 7-9 |
| Fuels from CO2 (methanol, hydrocarbons, methane,……) | 8 |
| Feed for microalgae production | 7 |
| Inert gas in the production of food | 9 |
| Sparkling beverages | 9 |
| Matallurgical processes | 9 |
| Storage in saline formations | 9 |
| Storage and enhanced Oil recovery | 9 |
| Storage and enhanced Gas Recovery | 7 |
| Storage in depleted oil and natural gas field | 7 |
| Storage through mineral carbonation (basaltic rocks, ultramafic rocks) | 2-6 |
| Storage with enhanced coal bed methane recovery | 2-3 |
| Ocean storage | 2 |

One of the most interesting perspectives today is the hydrogenation of captured CO2 with green hydrogen to produce e-fuels. Catalysts and processes for this purpose are already at a near commercialization step []. This point will be further discussed below.

5. Transport and storage of electrical energy.

5.1 On the transport of electrical energy.

Electrical energy is commonly transported through transport lines with a typical loss of 3- 7 % per 1000 km in high voltage lines, finally leading to typical minimum losses of 20-30 % in transport and distribution systems. Resistive losses in the conductors and dielectric losses in the insulation materials are the causes of power losses both for overhead transport [] and for underground transport []. Efficiency of direct electrical energy transport should be compared with transport of energy through transport of fuels, such as gaseous or liquid hydrocarbons and hydrogen (see below).

5.2 Storage of electrical energy.Mechanical and thermal technologies.

Storage of electrical energy is necessary for several reasons and in several contexts. In fact, the grids must be stable with supply and demand of electricity constantly balanced. Thus, excess production peaks allow storage of energy to be supplied in deficit production times.  Storage is also needed in off-grid production conditions, e.g. when discontinuous renewable energy sources like photovoltaic are applied to isolated buildings [,]. Additionally, it is needed to feed electric vehicles.

Pumped hydro storage represents the main technique for large scale energy storage: 96% of energy stored globally today is obtained with this technique, commonly applied in particular to energy grids including hydroelectric plants [50], or based on wind and solar energy on regions where large spaces are available as well as sufficient amount of water []. A number of other mechanical systems for energy storage, such as compressed air energy storage [] a useful technique when coupled with cogeneration and renewable  generation systems, but with low efficiency,  and  flywheels that can be useful for storing energy for limited periods of time.

Additionally, thermal energy storage systems also exist [], such as sensible heat storage (SHS) using ceramics, water or oil; latent heat storage (LHS) using molten salt, paraffin wax and water/ice materials; termochemical energy storage [], achieved via a reversible chemical reaction, such as dehydration/rehydration of alkali hearth hydrtoxides/oxides, decarbonation / recarbonation of alkali earth carbonates/oxides,  dehydration/rehydration of metal hydroyed / metals, and oxidation and reduction of transition metal oxides.

5.3 Electrochemical devices for energy storage.

5.3.1 Rechargeable batteries.

As it is well-known, the development of Lithium-ion batteries has been a main key for the development of charging for electronics and small devices before, and for full electric transportation later. Batteries have also application for the stationary storage of moderate amounts of energy, e.g. in the case of buildings. As reviewed by Masias et al. [], the development of LIBs has its origin in the sixties of the previous century, and raised the level of commercialization for electronics in the nineties, with a successive progressive increase in  of capacity, cell potential, cycle life and, in particular, energy density from values around 100 Wh/kg up to the short-term goal of usable energy density at cell level of 350 Wh/kg [], i.e. far higher than other battery types (such as Ni-MH, NiCd, lead acid). Indeed, this value and the other performances of LIBs make them by far more efficient than other battery types for electronics and small electric devices. However, the above energy density values are extremely low if compared with energy densities of conventional systems based on hydrocarbon fuels used for transportation with combustion engines, which lie in the 12000-14000 Wh/kg range. While this limit is not so determinant for application of short-range electric vehicles, such as bikes and motorcycles, it represents a critical point for cars and a main limit for long-range transportation such as for large trucks, large oceanic ships and intercontinental aircrafts.  This limit is coupled to the slow recharging rate of all battery types, including LIBs, which is a main factor for managing the use of transport vehicles []. Indeed, full charging time of the battery system of today’s electric vehicles is in the range of at least one hour. This drawback is due to slow diffusion kinetics phenomena and can be approached as a materials science and engineering aspect [,]. Indeed, other relevant challenges for LIBs for EVs are increasing calendar life (up to 10 years), increasing cycle life (up to 1000 cycles), enlarging temperature range (to −30 to 52 °C), and decreasing cost ($100/kWh) [96].

Further points against the large use of LIBs are associated to a significant consumption of critical materials. The most common LIBs are based on Li-graphite and mixed Li-Co-Ni (Mn) oxides electrodes, and liquid electrolytes allowing the diffusion of Li+ ion. A critical point is represented by the availability of lithium element, which constitutes only 0.0017% by weight of earth’s crust, and has uneven distribution []. Graphite too represents a critical material []. Additionally, the use of Co and Ni in electrodes, also critical elements, makes also them expensive and toxic, and this would push for the development of materials recycling processes on end-of life batteries []. The already commercial availability of batteries based on lithium iron phosphate electrodes reduces this drawback [].

It must be also taken into account that conventional LIBs may suffer from safety issues, including short circuits and even combustion caused by the oxidative decomposition of the organic liquid electrolyte at high temperatures, accompanied by the release of gas byproducts []. In fact, procedures to approach these phenomena, which are fully different than phenomena occurring with burnable organic compounds, are still incompletely determined [] and not regulated. Solid state LIBs may reduce safety concerns [] but not completely [].

A number of alternatives are considered today for use as batteries in EVs. Sodium ion batteries (SIBs) are under developments since the eighties, but still show poor cycle performance and safety concerns still hinder the large-scale applications [].  Also potassium-ion batteries [] and aluminum-ion batteries [] are under study, still at the initial development stage.

Many other rechargeable battery systems are under investigation and further development: among them, old systems like Lead-acid, Ni-Cd and Ni-MH (Nickel Metal Hydride) batteries, and more recent systems like metal-air batteries [], metal sulphur batteries [], Na-NiCl2 batteries [], and redox flow batteries []. They may have excellent and promising features together with evident drawbacks, and are still at early industrial development [,]. It must be taken into consideration, in any case, that all batteries under study do not have significant advantages in terms of energy density with respect to LIBs [110], thus not reducing the main limit for full electric transportation. Also for batteries, it should be noted that technologies that allow the recovery of materials or elements (in particular lithium) from exhausted or broken cells are still not being significantly implemented [], which are currently accumulating as electronic and hazardous waste. However, the European Union has issued regulations for their correct treatment [].

5.3.2 Supercapacitors and hybrid supercapacitors

Electric Double-Layer Capacitors (EDLC Supercapacitors) are the most common supercapacitor types [,]. These devices use electrostatic interaction to accumulate energy in Helmholtz double layers on the phase interface between the surface of the electrodes and the electrolyte. Most of these electrolytes are constituted by aprotic solvents and dissolved salts. High surface area materials like activated carbon coated on metal foils constitute the electrodes. Supercapacitors store relatively small amounts of energy ( 10 Wh/kg) but they can charge or discharge in seconds and exhibit much higher cycle life (in the order of millions) compared to batteries (cycle life in thousands only). Therefore, supercapacitors are primarily used to supply short bursts of power. The use of supercapacitors in many applications was limited by their low energy density and high price.

The development of hybrid supercapacitors, containing essentially the materials of lithium-ion batteries in the supercapacitor itself, is an interesting recent effort, to combine high power density with higher energy density devices. However, this work is still in progress.

6.	On the role of hydrogen as an energy vector (or an energy storage material) for decarbonization of energy production and transportation.

As everybody knows, hydrogen can be an excellent fuel, because it may produce only water vapour as the combustion product. Additionally, it has a very high gravimetric energy density, i.e. amount of energy per unit weight, 143 MJ/Kg, the highest among energy providing systems, except nuclear fuels.  However, gravimetric energy density of hydrogen is strongly decreased by the need (due to its extremely low volumetric energy density) to store it either under high pressure (e.g. 700 torr) or at very low temperature in the liquid form (down to 20-40 K), thus using bulky and very heavy equipment and tanks [], thus the all storage or propulsion system becoming well less energy dense that those based on liquid fuels and combustion engines. In any case the practical volumetric and gravimetric energy density of systems based on hydrogen is well higher than that of systems based on batteries and electrical engines.

In any case, hydrogen is not an energy source, because it exists in the molecular elementary form (H2) only in very minimum amounts in air, coming out from hydrothermal systems in mid-oceanic ridges, and in some amounts in some geologic reservoirs [,,]. Thus, elementary molecular hydrogen (H2) must be produced from its compounds, such as water, hydrocarbons, biomass compounds. Thus, hydrogen is an energy vector, or an energy storage material. Hydrogen is produced today [] mainly by steam reforming of natural gas [,], or by coal gasification [], with coproduction of CO2 which is frequently in part or entirely vent, so significantly contributing to global warming. The production of hydrogen without producing CO2 is certainly possible, in particular (but not only) by electrolysis of water using electrical energy produced without coproduction of CO2.  To give an idea on the environmental quality of produced hydrogen, colors are given to hydrogen produced by different technologies. Electrolytic hydrogen produced from electrical energy coming from renewable sources is defined as green hydrogen, while that coming  from nuclear power plants is defined as pink hydrogen. In reality, water electrolysis is realized today and since maybe a century and more, to a minimum extent, but using electrical energy produced by non-renewable or mixed sources (yellow hydrogen). A summary of hydrogen production technologies is reported in Table 7.

6.1	The production of green hydrogen through water electrolysis.

Being water the most stable hydrogen compound, the production of hydrogen from water implies the maximum consumption of energy. The production of green hydrogen can be accomplished using water electrolysis using renewable electric energy. The alkaline electrolytic cell (AEC) technology was used since many decades for small size plants for highly pure hydrogen production (< 4 % of total hydrogen produced today) but is today available commercially (TRL 9) also for large plants []. The use of inverted fuel cells, such as polymeric electrolyte membrane electrolytic cells (PEMEC) [] and of solid oxide electrolytic cells (SOEC) can result in non-negligible efficiency improvements. However, these technologies are still at a lower readiness levels [,]. In particular, durability is still a challenge, in particular for SOEC [131].

Table 7. Hydrogen production methods.

| Raw materials | Color | Process |  | TRL[23] | Notes |  |
| --- | --- | --- | --- | --- | --- | --- |
| Natural gas + water / O2 | Grey Blue with CCS | Steam reforming |  | 11 | May become carbon neutral with CCUS and/or electrification of reactors |  |
|  |  | Partial oxidation /autothermal |  | 9 |  |  |
| Hydrocarbons (naphtha) |  | Catalytic reforming |  | 11 | Used in refineries. Coproduction of aromatic hydrocarbons |  |
| Coal + water | Brown | Gasification |  | 11 | May become carbon neutral with CCUS |  |
| Water | Green, pink, yellow | Electrolysis | Alkaline cells | 9 | Today's durability > 105 h | Energetically most expensive |
|  |  |  | PEMEC | 8 | Today’s durability: 104 h |  |
|  |  |  | SOEC | 7 | Today’s durability: 103 h |  |
|  |  | Thermal decomposition |  | 3 | Needs very high temperatures |  |
| Biomass |  | Gasification |  | 6 | Very complex gas purification |  |
|  |  | Pyrolysis |  | Very low | Early stage of development |  |

6.2 Hydrogen from biomasses.

Although advocates of decarbonization do not take into consideration this (no color for hydrogen is given in this case), hydrogen can also be produced, in principle without coproducing fossil derived CO2, by biomasses and biomass-containing wastes, through a number of different technologies [,,]. The energy needed for these processes is far lower than that needed for water electrolysis, because the starting hydrogen containing compounds (or some of them) are less stable than water, but the processes are much more complex. Although biomass gasification has been object of studies since many decades, still its commercialization has not been raised [,]. IEA evaluates the production of H2 from biomass gasification at TRL = 6 [23]. This is mainly due to the difficulty in the purification of the obtained syngas [,], which contain together with significant amounts of “tar” molecules (aromatic hydrocarbons and phenols as well as nitrogen-, sulphur- and halogen- containing compounds) [] also of alkali-metal containing volatile compounds []. Complex purification processes have been developed to obtain abatement of such compounds to later convert syngas into hydrogen, but still a satisfactory process seems to be lacking.

An alternative recent perspective to produce hydrogen for biomass is pyrolysis followed by steam reforming of the pyrolysis gas []. The first step is realized at 773 K, thus not resulting in volatilization of alkali compounds, which is likely the main drawback in biomass gasification. The second step of steam reforming can be realized at higher temperature. The technology is promising although being still at very early level of development.

Another potential way to obtain “renewable” hydrogen is from biogas. After cleaning, most commonly realized using activated carbon adsorption [], syngas may be produced by the dry methane reforming reaction realized over metal catalysts at 700-900 °C [] coupled together with steam reforming of the excess methane []. The resulting syngas has a H2/COx ratio not far from 2 and is suitable for the production of methanol, but can be separated to produce pure H2 and non-fossil CO2.

Renewable hydrogen can also be produced by steam reforming of biomass-derived organic molecules. In particular, bioethanol steam reforming (ESR) [14,,] has been investigated deeply: it is an endothermic reaction and thus favored at relatively high temperatures and low pressures. It can be realized at 600-700 °C over metal catalysts such as supported Ni, Co, Pt or Rh, frequently improved by alloying [], with excess water. It seems that still this technology was not realized at industrial level, but is seriously considered for commercial application []. It has been considered that ESR can be realized using existing hydrocarbon steam reforming plants, provided effective catalysts have been developed []. Additionally, it has been shown that Ni/Ca aluminate commercial catalysts for natural gas steam reforming are excellent catalysts for ESR too, in laboratory experiments [].

Steam reforming processes to produce hydrogen can also applied to other biomass-derived substances [] such as vegetable oils [], wastes from agricultural manufacturings, glycerol, and biomass-pyrolysis oil [].

6.3	The production of blue hydrogen from fossil raw materials through CO2 capture and storage or use.

As already said, hydrogen is manufactured today either from syngases produced from natural gas steam reforming or coal gasification [126,127,128,129]. To obtain highly pure hydrogen, Pressure Swing Adsorption processes using zeolite type adsorbents is realized, separated CO2 being usually vent (grey or brown hydrogen). To obtain highly pure food-grade CO2, together with hydrogen, instead, scrubbing with amines solutions (mainly Methyl Di-Ethanol-Amine, MDEA) or hot potassium carbonate solution are commonly practiced, in particular after the natural gas steam reforming process. The current use of captured CO2 is to produce urea or other chemicals, or to use it in the food and beverage fields. However, to produce blue hydrogen, CO2 must be also captured from flue gases of steam reforming furnaces, and reused or stored. Alternatively, electrically-heated steam reformers are also under development for the production of blue hydrogen [].

6.4. The limits of hydrogen as an energy vector: transport and storage.

Where large hydrogen producers and users, such as petroleum refineries and chemical plants, are concentrated in nearby locations, hydrogen is mainly transported today through dedicated pipelines: approximately 1,600 miles of hydrogen pipelines are currently operating in the United States []. Where demand is at a smaller scale hydrogen is transported over the road in cryogenic liquid or compressed gas tanker trucks, and in in compressed gaseous tube trailers usually at 180 – 200 bar []. Large scale storage is mainly performed in gas phase reservoirs at 350 or 700 bar, or in liquid phase reservoirs []. It must however be considered that hydrogen compression and liquefaction are energy intensive: compression to 700 bar consumes an amount of energy comparable to 13–18% of the lower heating value of H2 itself [] while liquefaction consumes more than 30% of the energy content of the hydrogen itself [].

In fact, the use of hydrogen for the storage and transport of energy finds its limits in the very low volumetric energy density of hydrogen, even for both high pressure gas-phase systems and for liquid phase system [122]. Liquid hydrogen, conveniently stored and transported near atmospheric or a little higher pressure at 20-30 K, still has a very low energy density (10.1 MJ/L) with respect to liquid hydrocarbons (> 45 MJ/L) and alcohols (e.g. methanol 23 MJ/L), although well higher than that of batteries (< 0.02 MJ/L).

It can be remarked that a low volumetric storage energy density when hydrogen is used as fuel for vehicles, results in limited autonomy of the vehicle with normal size reservoirs or very large reservoirs to store sufficient amount of fuel (or energy) for high autonomy.  In parallel, energy storage in hydrogen refueling stations will also be relatively limited or would imply very large reservoirs. In general, it is quite evident that storage / transport systems of hydrogen are intrinsically quite or very inefficient. In particular, transport of energy through hydrogen is likely more inefficient than transport of electric energy by conduction in high voltage lines.

For future large transport of hydrogen, the repurposing of existing natural gas pipeline infrastructure is taken into consideration. However, hydrogen induced corrosion phenomena may occur []. In any case, the low volumetric energy density of gaseous hydrogen, well lower than that of methane, and the higher energy needed for compression, result also in this case on intrinsic inefficiency.

Theoretical alternatives for hydrogen transport and storage consist in the use of it when absorbed in solids, adsorbed on solids or chemically bound in transport molecules []. A number of solids, such as transition metal alloys producing interstitial hydrides and covalent light metal hydrides, can be used for transport of hydrogen []. These solids may contain more hydrogen than hydrogen itself per volume, so having an higher volumetric energy density (up to 100 kgH2/m3) than liquid or compressed hydrogen. However, they are heavy, thus most of them have a lower gravimetric energy density than the practical one for liquid and compressed hydrogen systems [,]. In any case, they have both volumetric and gravimetric hydrogen density well lower than room temperature and pressure liquid hydrocarbons tanks. Most of the interstitial hydrides are capable to absorb and desorb hydrogen at room temperature, with hydrogen capacity of H/M ratio ≤ 2. High entropy alloys are relatively new, interesting materials, but their reversibly absorbed hydrogen capacity is still relatively low, around 2 wt% (H/M) [,]. Covalently bonded light metal hydrides such as metal alanates (M(AlH4)n), metal amides (M(NH2)n) and metal borohydrides (M(BH4)n), Mg-based hydrides, Al hydride (AlH3), ammonia borane (NH3BH3), have by far higher hydrogen density, sometimes more than 10 wt%. However, they have relatively high temperatures for hydrogen release, usually 400-600 K, and also hydrogen storage needs higher pressures.

Porous solids, such as Metal-Organic Frameworks (MOFs), covalent organic frameworks, porous organic polymers, carbon-based materials, and zeolites, show higher capability to adsorb hydrogen. However, their performances are still far from being useful for commercialization []. After several decades of research efforts, still the use of solids to transport hydrogen is practically unthinkable, new definitely more effective revolutionary materials being needed for a competitive technology..

Another way to transport hydrogen is the use of Liquid Organic Hydrogen Carriers (LOHC), i.e. molecules that can be easily hydrogenated and recovered by dehydrogenation [,]. The most interesting liquids in this field are N-ethylcarbazole, Dibenzyltoluene, 1,2-dihydro-1,2-azaborine, Formic acid, Methanol, Naphthalene, Toluene, Phenazine. The energy density of these liquids as hydrogen vectors is in the range 1.6 – 3.3 kWh/L [], comparable with that of compressed or liquid hydrogen but needing less expensive procedure for storage. This energy density is 4-8 times that of Li-ion batteries,. . However, the way to convert and recover hydrogen is, in this case, not so simple, because catalytic reactions must be performed, and with very high selectivity. Additionally, the dehydrogenated molecule must be transported back for re-hydrogenation. It seems that long range transport of hydrogen could be effectively realized with LOHC while for transport in vehicles this is not a solution.

With another approach, hydrogen can be bonded to a chemical component with the potential to be dissociated to regenerate hydrogen (like LHOC) but can also be burned at such. This occurs with synthetic methane (SNG), ammonia, methanol, and formic acid. In this case, the process is one-way (irreversible), and the energy-demanding dehydrogenation step is avoided. These systems are often called circular hydrogen carriers, because of the recycling of the hydrogen-lean form (CO2 or N2) [171].

In particular, hydrogen transportation using ammonia in slightly refrigerated tanks at -33 °C or at ambient temperatures under a pressure of 8-10 bar is a possible option. In fact, hydrogen density of ammonia is 17.8 wt%, 10.7 kgH2/100 L and it is easily liquefied under about 1 MPa at room temperature [163]. The potential use of ammonia has, however, several drawbacks. Ammonia is a highly toxic and volatile compound that can be decomposed back to N2/H2 at quite a high temperature, and its residual concentration for feeding PEM fuel cells must be extremely low (1 ppm). On the other hand, ammonia is burnable without emission of CO2.

The above data suggest that hydrogen transport in pipelines or as compressed or liquified reservoirs, although inefficient, can still be the best solution. However, the large-scale transport of hydrogen using LHOC (ex. methylcyclohexane) in liquid phase, through tankers or pipelines could also have some perspective.

6.5 Dangerousness of hydrogen technologies.

As for any highly volatile fuel, safety concerns on hydrogen technologies also exist []. Being H2 the substance with the smallest relative molecular mass, it most easily leaks or permeates from high-pressure environments. Additionally, the lack of odor and color increases difficulty of leakage detection. On the other hand, due to its minimal density in the gas phase, which is much lower than that of air (0.13 with respect to 1 for air), the risk of hydrogen explosions outdoors is minimal. In fact, in the event of an outdoor leak, hydrogen will produce an upward flow and will quickly disperse into the air. Instead, in the case of leaks in confined spaces, the risks of explosion are significant []. The very low minimum ignition energy (MIE) of hydrogen (0.017 mJ ), lower than that of any hydrocarbon [] and in particular for  natural gas ( > 0.30 mJ) is a key factor in its extremely high hazardousness of hydrogen. In particular, the low MIE and the possibility of flaming when air is mixed with a hydrogen volume fraction of only 4%, make it possible for hydrogen to ignite spontaneously quite easily, as occurred quite frequently in the past. Comparison with natural gas shows that hydrogen is, for many respects, more dangerous.

6.6 Green hydrogen utilization as an e-fuel.

Green H2 can be used as an e-fuel [] in both spark and compression combustion engines [,], although, due to the use of air as an oxidant and the high temperature obtained, NOx could be coproduced pollutants. This may need NOx abatement devices to be installed in an aftertreatment system. On the other hand, for the use of hydrogen as a fuel in internal combustion engines, modification of the injection systems is needed with respect to normal hydrocarbon fueled engines. However, this represents a minor modification of well proven and fully developed technologies. Indeed, at least at the pilot level, hydrogen fueled combustion  engine motorcycles (developed by Kawasaki []), cars (under development by Toyota []) and trucks (under development by several firms []) are considered to be an interesting option at least in mid-term perspective.

Additionally, hydrogen can also be fed to gas turbines e.g. for aicraft jet propulsion (now under study e.g. by Rolls Royce []) and for stationary power generation and cogeneration (as developed by Kawasaki []). Indeed, a main limit also in this case is constituted by the relatively low autonomy of the vehicles related to the small volumetric energy density of energy in reservoirs, or to the inefficiency related to hydrogen liquefaction or compression.

6.7 Hydrogen utilization with Fuel Cells.

Green hydrogen can be used to produce green electrical energy with hydrogen fuel cells []. This allows to produce directly electric energy with very high efficiency (except the hydrogen production and transport steps that are quite inefficient) and without producing pollutants in the energy transformation step. Hydrogen fuel cells, which were conceptualized at the beginning of the XIXth century and produced at the experimental level in the middle of the same century (i.e. before the invention of internal combustion engines), after 150 years still find difficult commercialization mainly because of durability limits. Data on the most relevant types of FC are summarized in Table 8.

6.7.1 Polymeric Electrolyte Membrane (PEMFC)

fuel cells are the most advanced (TRL = 9 for application in cars, light duty commercial vehicles and buses according to IEA [23]), and are commercially available today mainly for application in vehicles [131]. However, application of PEMFC to stationary energy production system is also increasingly considered [,]. They work around 100 °C and are based on noble-metal based electrodes (usually carbon-platinum composites) and of proton exchange sulphonated resin membranes as the electrolyte. They work with wet membrane and feeds. Advantages of PEM are high volumetric power density, short start-up times, and high tolerance of gas-pressure differential between cathode and anode [184]. A main limit of this technology is the high cost associated to the need of significant amounts of platinum in the electrodes. Heavy durability concerns still exist [], which increase with decreasing platinum contents in the electrodes [], guaranteed durability being still less than the targets for heavy duty vehicles. Additionally, PEMFC need highly pure hydrogen and humidity management is quite onerous too. PEMFC + hydrogen storage + electric engine systems have a gravimetric energy density still well lower than that of hydrocarbon-based combustion engines systems, but an order of magnitude larger than that of batteries. However, they have power densities well lower than batteries and than combustion engines. The efficiency in the use of energy in hydrogen tank+ fuel cell + electric engine systems is lower than that of batteries but much more than that of combustion engine systems. The overall efficiency for use of Fuel Cells in vehicles is certainly strongly limited by the inefficient storage of hydrogen (very low volumetric energy density) and to limited durability as well, at the moment. Thus they compete with full electricity – battery systems but seem to be more promising for medium weight and mileage vehicles like big trucks [].

To overcome or limit some of its drawbacks, High Temperature PEMFC are now under study []. In fact it has been observed that poly-benzimidazole (PBI) membrane doped with phosphoric acid may act as the proton conductor at temperatures up to 200 °C. This would makes easier the management of humidity and maybe less stringent the limit on hydrogen purity.

6.7.2 Alkaline Fuel Cells (AFC).

Alkaline Fuel Cells use, as the corresponding electrolytic cells, 30-40 % KOH water solution embedded in porous materials as the electrolyte []. They have been the first to be practically developed at the commercial level since the sixties, and were used by NASA in Apollo missions and the space shuttle to produce electrical power and fresh drinking water. They also necessarily use Pt-carbon electrodes, thus suffering of high costs. The additional main limit consists in their sensitivity to CO2, which is strongly absorbed by KOH solution. They consequently need highly purified air or oxygen as the cathode feed. For this reason, they are not competitive with  PEMFC.

6.7.3 Alkaline Exchange Membrane Fuel Cells (AEMFC).

A quite recent development in this field resulted in the Alkaline Exchange Membrane Fuel Cells, that use quaternary ammonia-/piperidinium based polymeric membrane to transport the hydroxide anion.  AEMFC are considered as candidates to substitute PEMFC because of quicker electrochemical kinetics, lower catalysts cost and weaker corrosion. In fact ,they potentially allow the use of non-precious-metal catalysts, which can facilitate commercialization []. However, AEMFC still have fast degradation rate and CO2 sensitivity, and consequently too low lifetime. They are still at the laboratory development level [191,192].

6.7.4 Phosphoric Acid Fuel Cells (PAFC).

PAFC [] were firstly commercialized and widely used for small stationary power generators with output in the 100 kW-400 kW range. PAFC operates usually at 180°C–220°C. The electrolyte is 100% concentration of H3PO4 contained in a Teflon-bonded, silicon carbide matrix. Electrodes are based on Pt/carbon composites. The quite operating high temperature allows for low-grade waste heat recovery for further utilization. PAFCs have moderate durability and simple structure, as well as a good tolerance to CO2 and CO in the feeds. The main limits, that caused reduced commercialization, are high costs mainly due to noble metal electrode materials, the need for corrosion-resistant materials, and the relatively low power density.

6.7.5 Solid Oxide Fuel Cells (SOFC)

SOFC are the most advanced FC besides PEMFC. According to IEA, their RTL is 8-9 for large stationary energy generation. They apply solid oxide-ion conducting materials, such as Y-stabilized zirconia or Sm-doped gadolinia, as electrolytes []. To have high ion conductivity, high temperatures are needed (650-800 °C). This allows non-noble metals to be used as the anode (usually nickel) and metal oxide such as LaSM (Lanthanum-Strontium Manganite) as the anode. Just due to its high temperature operation, high purity for hydrogen feed is not necessary, and also internal reforming of hydrocarbons is possible. Thus, its application is supposed to be optimal for large energy production systems. To this high temperature operation, limits are associated such as long startup times, limited number of shutdowns allowed, high temperature corrosion and breackdown of cell components [] resulting in low durability. Cathode degradation may occur due to poisoning mainly arising from chromium evaporated from the unprotected metallic interconnects, and from impurities in the air feed (i.e sulphur compounds, CO2 and humidity), microstructural deformation and chemical and thermal strains resulting in delamination.  The electrolyte can suffer of phase transitions, contamination by impurities, dopant diffusion and mechanical failure. Finally, anode materials also suffer of microstructural changes, coking, poisoning and delamination. All these phenomena have relevant rate due to the high temperature necessarily used.

Table 8. Data on most advanced fuel cell systems

| FC type | Anode material and feed | Electrolyte / transported species | Cathode material and feed | T °C | Power range kW | Startup time min | application | TRL | Lifetime h | Challenges and drawbacks (DOE) [] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PEMFC | Pt/C Wet H2 | Cationic polymer membrane H+/H2O | Pt/C O2/air | 60-80 | 0.05-1000 | <1 | mobile | 9 | >25000 | • Expensive catalysts • Sensitive to fuel impurities |
| PAFC | Pt/C H2 | H3PO4 in porous SiC matrix H+/H2O | Pt/C O2/air | 140-200 | 100-10000 | long | Small stationary, mobile (buses) |  | 40000 | Expensive catalysts • Long start-up time • Sulfur sensitivity |
| AFC | Pt / C Wet H2 | KOH /alkaline membrane HO-/H2O | Pt/C Purified air | 40-75 | 0.1-200 | <1 | mobile |  | >5000 | Sensitive to CO2 in fuel and air |
| AEMFC | Non PGM metals Wet H2 | Anionic polymer membrane HO-/H2O | Non PGM metals Purified air | 50-90 |  |  |  |  | 300-500 | High degradation rate Still at laboratory scale |
| SOFC | Ni H2 | Porous ceramic material O2= | Mixed oxide O2/air | 500-1000 | 1-100000 | 60 | stationary | 8 | 20000-80000 | High temperature corrosion and breakdown of cell components Long start-up time Limited number of shutdowns |
| MCFC | Ni H2 | Molten (Na,K)CO3 in porous Li--alumina CO3= | Li-NiO O2/air with CO2 | 650-800 | 500-100000 | 60 | stationary |  | 15000-30000 | High temperature corrosion and breakdown of cell components Long start-up time Low power density |

6.7.6 Molten Carbonate Fuel Cells (MCFC)

MCFC [,] work thanks to the diffusion of the carbonate ion in the molten carbonate electrolyte. To maintain alkali carbonate eutectics in the liquid phase, high temperatures are needed. This allows the use of impure hydrogen and also of hydrocarbon feeds which are internally reformed. In addition to power generation, they can be used for capturing and concentrating CO2 from a waste-gas containing air fed at the cathode []. Alternatively, quite onerous CO2 recirculation is needed. Due to their high power range, they are best suited for large stationary power generators. The main drawback of this technology are the high temperature corrosion and breakdown of cell components (cathode dissolution, corrosion of cell hardware such as bipolar plates and current collectors, and electrolyte loss due to creep in the matrix and electrodes) which result in insufficient durability for large stationary application []. Additionally, it has long start-up time and low power density. Also, the need for CO2 in the cathode oxygen/air feed may be a limit in a context of green energy production, being somehow in contradiction with the use of green hydrogen to produce energy. Although they nearly raised commercialization (TRL 8-9 according to IEA) [198], their interest for stationary power generation is decreasing [184,186]. The combination of MCFCs with a combined cycle gas turbine (CCGT) power plant means that 90% of the CO2 from the gas turbine exhaust can be captured while generating additional electricity instead of decreasing the plant’s net power output. This technology is considered to currently be TRL 5-6 [].

6.8 Green hydrogen application in processes other than energy production.

The industrial activity producing most GHG emissions (besides energy production and transport industries) is steelmaking, globally producing around 7 % of total GHGs. In fact, steelmaking is mainly associated to the use of coke as reductant for iron ores in blast furnaces and in its coal combustion for generating the need heat. Green hydrogen can play a main role in decarbonizing steelmaking [,], with the development of hydrogen-based direct reduction processes, which are evaluated to be today that TRL = 6 [23]. Significant GHG emissions reduction is also obtained by applying to steelmaking CO2 capture and reuse or storage [] and recycle of steel scraps.

Also the chemical industry [] consumes significant amounts of hydrogen, only part of which produced by dehydrogenation processes in the same petrochemical sector. On the other hand, most of hydrogen used for the petrochemical sector comes from steam reforming of natural gas and coal gasification processes. Thus, the production of green hydrogen can allow decarbonizing the chemical industry too.

7. E-fuels and biofuels for decarbonizing transport.

As discussed above, fully electric systems cannot be applied, at least at the moment, to very heavy and long-range vehicles. Also, hydrogen and fuel cell - based systems have limits of autonomy and cannot be applied to oceanic shipping and intercontinental or long-range aviation. Thus, for these vehicles, the use of renewable liquid hydrocarbons with conventional combustion engines is still considered the only possible perspective, at least for the near future. This perspective has also the advantage to not need revolutionary modification of the conventional engine systems which are reliable and durable. Once this approach is considered for oceanic shipping and transcontinental aviation, it seems clear that the same approach can also be reconsidered for smaller vehicles, such as e.g. heavy-duty trucks. Renewable fuels, virtually allowing zero fossil CO2 emission, are e-fuels and biofuels. Both e-fuels and biofuels can be constituted by exactly the same molecules that fossil fuels but are produced without emission of fossil raw material- derived GHGs. They also would be completely sulfur-free, in contrast to typical fossil fuels. They can be used in common combustion engines as fossil fuels, thus producing the same pollutant or poisonous molecules, i.e. CO, unburnt hydrocarbons, aldehydes, particulate matter. Thus, they would produce the same pollution except that responsible for global warming and acid rains. On the other hand, it must be realized that, thanks to the already well developed modern aftertreatment systems, together with their improved purity, real pollution may actually be very limited, if at all.

7.1 E-fuels.

E-fuels [176,] are, by definition, burnable compounds that may be produced converting renewable electrical power to hydrogen and reacting it with atmospheric gases (CO2 or N2). In this definition, biomass conversion is excluded. Indeed, the real e-fuel is green hydrogen obtained by water electrolysis using renewable energy. Its potential use has already been considered above. Alternative e-fuels can be obtained by hydrogenation of natural molecules with green hydrogen. In particular, catalytic hydrogenation of captured CO2 allows the production of hydrocarbons fully analogous to those coming from oil, but produced in a fully renewable way and CO2-neutral in their lifecycle. Appropriate catalysts are the key materials for allowing these technologies to be highly efficient.

As reviewed recently [87], hydrogenation (using green hydrogen) of CO2 allows, depending on catalysts and reaction conditions, the synthesis of alcohols such as e- methanol, and of e-hydrocarbons such as e-methane. The processes are very similar to those used for producing the same products from syngases of fossil origin such as methanol synthesis, methanation (or synthesis of Substitute Natural Gas, SNG) and Fischer-Tropsch synthesis. Companies already developed slightly modified catalysts and processes which are ready to commercialization. These techniques allow the production of (chemically) sustainable fuels for shipping, such as e-methanol which is already being tested at pilot level from Maersk [], as well as e-jet fuel useful a Sustainable Aviation Fuel. Similarly, the ammonia synthesis (Haber-Bosch) process can be realized using green electrolytic hydrogen and nitrogen coming from air distillation. Catalyst, reaction conditions and reactor do not need any modification with respect to conventional ammonia synthesis. The use of e-ammonia as a fuel and as a hydrogen-transport molecule is considered today [176,206] but is certainly hampered by its significant toxicity coupled with its gaseous behavior.

7.2 Biofuels.

Biofuels are renewable fuels produced by converting biomass. They are commonly  classified in four categories, as reported in Table 8.

Table 8. Classification of biofuels.

| Generation | Characteristics |
| --- | --- |
| First | obtained from food crops such as edible vegetable oils or starch containing vegetables such as corn. |
| Second | obtained from wastes of the agri-food industry, from the organic fraction of municipal waste, or from ligneocellulosic biomass, not intended for food production. |
| Third | obtained from algae as raw materials. This kind of fuel is still not produced commercially, but there are conclusive findings proving its feasibility. |
| Forth | obtained from genetically modified microorganisms. |

It must be considered that, although biofuels used today in vehicles are essentially first generation (corn bioethanol and most of biodiesel), second generation biofuels are available today.

7.2.1 Biogas and biomethane.

Biogas [17,144] is produced by the anaerobic digestion of organic matter, usually the organic fraction of MSW (methanogenic fraction) in landfills, and the water treatments sludges. It contains about 50% methane and 50% CO2, with many impurities including sulphided hydrocarbons and H2S, nitrogenated hydrocarbons and ammonia, and oxygenated organics, as well as siloxanes and sometimes organic halides. After purification, usually realized by adsorption on activated carbons, it can be used as a fuel for producing heat and energy. It is potentially possible to react biogas through dry reforming producing a syngas, to be converted into methanol or higher hydrocarbons or separated to produce hydrogen.  It is also possible to separate CO2 from it, thus producing pure methane, denoted as biomethane, which can be used as such to produce heat and energy, steam reformed to produce hydrogen, and inserted in the national gas network. The latter technologies are ready and already largely utilized (TRL = 9 or more) and may be considered as second generation biofuels.

7.2.2 Biogasolines.

Bioethanol [], i.e. ethanol produced by fermentation of glucose solutions derived from polysaccharide hydrolysis, is an excellent gasoline from the technical point of view (anti-knocking properties) but may cause the release of dangerous organics (aldehydes) in the waste gas. It is added to commercial gasolines at the minimum level of 1% to a maximum level of 10% (E10 gasoline) in the European Union. First generation bioethanol, coming from starch rich biomasses, is largely available. Ligneo-cellulosic bioethanol, coming from wood-derived cellulose, is also nearly available today, as a second generation biofuel (TRL = 8 according to IEA [23]).

In principle, a number of processes can be applied to produce hydrocarbon gasoline fractions as well biomethanol (also a high-octane number gasoline) from biomasses [16], although it seems that still there are not industrial productions.

7.2.3 Biodiesel.

Bio-diesel [] is a fuel produced commercially (TRL = 9-10) since decades from vegetable oils, mainly edible oils derived from soybeans, sunflower, palm or canola (as a first generation biofuel), or even from non-edible oils such as castor oil, as well as from frying waste oils (as a second generation biofuel). It is a mixture of methyl esters of fatty acids (FAMEs) produced by transesterification of triglycerides with methanol. It is mixed with mineral gasoil up to a 7% content in Diesel fuels in the European Union. This limitation is due to its intrinsic technical drawbacks, such as different properties when coming from different raw materials, high melting point, low compatibility with engine materials, production of oxygenates in waste gas, etc.. Additionally, the environmental friendliness of its manufacturing process is limited, in part due to the necessary coproduction of impure glycerol.

7.2.4 Hydrotreated vegetable oils (HVO).

Full catalytic hydrogenation of vegetable oils has been developed (TRL = 9) to obtain full-hydrocarbon fractions, usually denoted as Hydrotreated Vegetable Oils (HVO). Also depending on the starting oil, and the entire process, that can be followed by a mild hydrocracking step, Jet-fuel (kerosene) and Diesel fuel can be obtained. These are fully hydrocarbon fractions, mainly constituted by linear paraffins, thus with a high knocking potential (Cetane number > 60), with a near zero oxygen content, and can consequently can fully substitute the corresponding fuels. If green hydrogen is used, they are fully renewable. Also in this case, non-edible oils (Jatropha oil, Castor oil, spent frying oil waste) can be used, thus giving rise to a second-generation biofuel. The commercial use of these liquids in mixtures with mineral Diesel oil and Jet-fuel is already commercial, while the possibility of their use as neat fuel has been proven. In particular, Jet fuel based HVO is considered as the most likely or advanced future Sustainable Aviation Fuel []

8. Considerations on zero emissions transport.

The above review data indicate that the future zero emission technologies for transportation still are not unequivocally determined.

It is clear that full electric vehicle systems appear to be optimal solution only for small mileage and small weight vehicles, due to the strong limits in autonomy due to high weight and size of the batteries available today and expected for the near future. Their development also needs the production of much more electricity and in a fully renewable way. Additionally, materials concerns for their production cannot be neglected and need improvements.

Hydrogen-fueled systems seem to be the best solution for intermediate mileage and weight vehicles, such as long-range trucks [189]. They allow > 1000 km and  1 day autonomy with big size and weight vehicles. However, systems based on fuel cells and electrical propulsion are very expensive and limited by noble metal availability. Hydrogen-fueled internal combustion engine-based vehicles, maybe with DeNOxing devices, could be competitive or even better. More efficient systems for hydrogen distribution and storage should be developed.

For very long range, heavy weight, and extended travel times vehicles, such as transoceanic ships [] and transcontinental aircrafts [210], the use of conventional combustion engines (diesel and Jet) fueled by biofuels or E-fuels seem to be at the moment and for the near future the only possible solution. Among the most considered solutions are the use of e-methanol for shipping and of HVO for aviation, using conventional internal combustion and jet engines.

From the above considerations, it seems reasonable to continue the development of more efficient and less polluting internal combustion engines, thus postponing the abandonment of such very reliable technologies.

9. Approaching the entire life cycle and the end of life of the devices and of the technologies.

As it is evidenced above, all energy – related technologies imply first of all the use of optimized materials to produce devices. The device manufacturing sequence is approximately the following:

- Mining of minerals

- Processing to produce chemicals / compounds

- Reacting / processing to produce materials.

- Structuring to produce devices

- Using devices

- End-of-life of the spent devices

Interestingly, raw materials extraction, raw materials processing, final materials manufacturing and device production frequently occur in different continents or nations, thus implying multiple transport of matter around the world until the final device destination. The real environmental effects of a technology must consequently evaluated considering the entire life of the device. As for example, mining of each element present in a device should also be considered and its environmental impact evaluated.

On the other hand, all technologies use devices and structures whose life is limited. Wasting is the most common end-of-life for devices today. The production of enormous amounts of wastes is clearly one of the main problems of our civilization. Additionally, the landfilling of discarded technological devices represents an illogical storage of precious and expensive matter, frequently very sophisticated materials, in principle available for reuse. It is absolutely urgent to develop technologies for reuse of spent devices as well as any type of wastes. Reuse should follow the following hierarchy:

- Reuse of the object, if possible

- Dismantling the object and reuse of its separate parts, if possible

- Dismantling the parts into materials, and reuse of the materials, if possible

- Regeneration of the materials, if possible

- Recovery of chemicals from unregenerable materials, if possible.

- Converting to produce energy, if possible

- Wasting, as the very last choice.

It must be taken into consideration, as already said above, that for many technologies, the most appropriate way to reuse has not been even determined up to now. And for this reason, at the moment, the most common end of life procedure for many devices, including photovoltaic panels, wind blades, batteries, electronic devices, etc., is wasting.

It is absolutely urgent to develop and define mandatory end of life procedures for devices, already before they are admitted to the commerce.

10. Conclusions.

According to the above critical evaluation of the state-of-art of technologies potentially allowing to cut off emissions of fossil-derived GHGs, several conclusions can be reached.

- Technologies considered today for the energy transition allowing zero emissions demonstrate strong drawbacks in terms of environmental and societal impacts, efficiency and real sustainability, in the absence of statal funding.

- Chemistry and chemical engineering are and will continue to be the crucial fields for improving existing technologies and developing new technologies for efficient and clean energy production and management.

- As always in the field of chemical engineering, catalysis and electrocatalysis are key phenomena to be exploited for improving efficiency in thermochemical and electrochemical processes for production of devices, materials and fuels (including hydrogen).

- In particular, materials chemistry is the key discipline to develop electro- and photo-chemical devices (batteries, fuel cells, photovoltaic systems, etc.) and materials for mechanical systems, most of which need decisive improvement with respect to those are becoming to be used today. Better devices need new materials.

- Technologies allowing the enhanced production of biomass available for energy applications should be carefully considered, because they may represent ways to take advantage of solar energy with reduced energy and material costs. Together, positive environmental impacts could be obtained.

- In any case, the use of biomasses should not be excluded a priori because of dogmatic prejudices or economic interests of someone.

- Technologies allowing reuse of materials or recovery of chemicals from exhausted devices are urgently needed to avoid waste production and resource consumption. This point should be defined for any technology before it comes to widespread use.

- Catalytic materials and technologies are needed to approach the many chemical steps needed in the production of materials and in recovery of chemicals. In particular, hydrogen production from biomass, e-fuel and biofuel manufacturing, recovery of chemicals from waste polymeric materials, hydrogen carrier molecules, etc. are necessary technologies needing efficient catalysts to be developed.

- Complete and well-structured life-cycle analyses are needed before to allow commercialization of new technologies, to reveal their actual impact and real sustainability. In particular energetic and economic sustainability in the absence of statal funding, as well as absence of production of unusable wastes at their end-of-life are key features to be considered.

- In any case, we should be aware that, for many potential technologies, revolutionary systems are needed, because those have been under development until today showed already excessive limits to come to widespread commercialization. The starting of large-scale application of these technologies are causing emersion of their strong limits.

Data Availability Statement: This is a review paper. All data can be found in the cited literature.

Conflicts of Interest: The author declares no conflict of interest.

References

Connolly R.; Soon, W.; Connolly, M.; Baliunas, S.; Berglund, J.; Butler, C.J.; Cionco, R.G.; Elias, A.G.; Fedorov, V.M.;  Harde, H.; Henry, G.W.; Hoyt, D.V.; Humlum, O.; Legates, D.R.; Lüning, S.; Scafetta, N.; Solheim, J.E.; Szarka, L.; van Loon, H.; Velasco Herrera, V.M.; Willson, R.C.; Yan, H.; Zhang, W. How much has the Sun influenced Northern Hemisphere temperature trends? An ongoing debate, Res. Astron. Astrophys. 2021, 21, 131.

Koutsoyiannis, D.; Onof, C.; Kundzewicz, Z.W.; Christofides, A. On Hens, Eggs, Temperatures and CO2: Causal Links in Earth’s Atmosphere, Atmosphere. Sci. 2023, 5, 35.

Romanova, E.S.; Masalkova, A.A. Risks of switching to renewable energy sources, SHS Web of Conferences 2021, 101, 01010

Dou X. ; Hong, J. ; Ciais, P. ; Chevallier, F. ; Yan, F. ; Yu, Y.; Hu, Y.; Huo, D.; Sun, Y.; Wang, Y.; Davis, S.J.; Janssens-Maenhout, G.; Song, X.; Guizzardi, D.; Solazzo, E.; Zhu, B.; Cui, D.; Ke, P.; Crippa, M.; Lin, X.; Wang, H.; Zhou, W.; Huang, X.; Deng, Z.; Liu, Z. Near-real-time global gridded daily CO2 emissions 2021.  Scientific Data 2023, 10, 69

I EA. Global Energy Review: CO2 Emissions in 2021, https://www.iea.org/reports/global-energy-review-co2-emissions-in-2021-2. (IEA, Paris, 2022).

Rockström, A.; Gaffney, O.; Rogelj, J.; Meinshausen, M.; Nakicenovic, N.; Schellnhuber, H.J. A roadmap for rapid decarbonization. Emissions inevitably approach zero with a “carbon law”. Science 2017, 355, 1269-1271.

Schneider T. Ways to Defossilization. MTZ Worldw 2021, 82. 14–15.

Kilpeläinen, A.; Torssonen, P.; Strandman, H.; Kellomäki, S.; Asikainen, A.; Peltola, H. Net climate impacts of forest biomass production and utilization in managed boreal forests. GCB Bioenergy 2016, 8, 307–316

Titus, B.D.; Brown, K.; Helmisaari, H.S.; Vanguelova, E.; Stupak, I.; Evans, A.; Clarke, N.; Guidi, C.; Bruckman, V.J.; Varnagiryte‑Kabasinskiene, I.; Armolaitis, K.;  de Vries, W.;  Hirai, K.; Kaarakka, L.; Hogg, K.; Pam Reece, P. Sustainable forest biomass: a review of current residue harvesting guidelines, Energ. Sustain. Soc. 2021, 11, 10.

Carrino, L.; Visconti, D.; Fiorentino, N.; Fagnano, F. Biofuel Production with Castor Bean: A Win–Win Strategy for Marginal Land, Agronomy 2020, 10, 1690;

Abobatta, W.F. Jatropha curcas, a Novel Crop for Developing the Marginal Lands. In: Basu, C. (ed.) Biofuels and Biodiesel,  Methods in Molecular Biology, vol. 2290. Springer, Humana, New York, NY., 2021, pp. 79-100.

https://www.eni.com/en-IT/media/press-release/2022/07/eni-launches-first-production-vegetable-oil-biorefining-kenya.html

Maliha, A.; Abu‑Hijleh, B. A review on the current status and post‑pandemic prospects of third‑generation biofuels. Energy Systems 2023, 14, 1185–1216.

Garbarino, G.; Pampararo, G.; Phung, T.K.; Riani, P.; Busca, G. Heterogeneous Catalysis in (Bio)Ethanol Conversion to Chemicals and Fuels: Thermodynamics, Catalysis, Reaction Paths, Mechanisms and Product Selectivities, Energies 2020, 13, 3587.

Phung, T.K.; Le Minh Oham ,T.; Vu, K.B.; Busca G. (Bio)Propylene production processes: A critical review, J. Environ. Chem. Eng.2021, 9, 105673.

Busca, G. Production of Gasolines and Monocyclic Aromatic Hydrocarbons: From Fossil Raw Materials to Green Processes, Energies 2021, 14, 4061.

Barasa Kabeyi, M.J.; Akanni Olanrewaju, O. Biogas Production and Applications in the SustainableEnergy Transition, J. of Energy, 2022, 8750221.

Kumar, R.; Kumar, A. Recent advances of biogas reforming for hydrogen production: Methods, purification, utility and techno-economics analysis, Int. J. Hydr. En. 2024, 76, 108-140.

https://ec.europa.eu/research/participants/data/ref/h2020/other/wp/2018-2020/annexes/h2020-wp1820-annex-g-trl_en.pdf

https://www.iea.org/reports/innovation-gaps

Meschini, S.; Laviano, F.; Ledda, F.;  Pettinari, D.; Testoni, R.; Torsello, D.; Panella, B. Review of commercial nuclear fusion projects, Front. Energy Res. 2023, 11, 1157394.

Mohamed, M.; Zakuan, N.D.; Tengku Hassan, T.N.A.; Lock, S.S.M.; Mohd Shariff, A. Global Development and Readiness of Nuclear Fusion Technology as the Alternative Source for Clean Energy Supply. Sustainability 2024, 16, 4089.

https://www.iea.org/data-and-statistics/data-tools/etp-clean-energy-technology-guide

Sandri, S.; Contessa, G.M.; D’Arienzo, M.; Guardati, M.; Guarracino, M.; Poggi, C.; Villari, R.; A Review of Radioactive Wastes Production and Potential Environmental Releases at Experimental Nuclear Fusion Facilities, Environments 2020, 7, 6.

Lukacs, M.; Williams, L.G.  Nuclear safety issues for fusion power plants, Fusion Eng.Design 2020, 150, 111377.

Hemeida, M.G.; Hemeida, A.M.; Senjyu, T.; Osheba, D. Renewable Energy Resources Technologies and Life Cycle Assessment: Review. Energies 2022, 15, 9417.

Wang, S.; Hausfather, Z.; Davis, S.; Lloyd, J.; Olson, E.B; Liebermann, L.; Núñez-Mujica, G.D.; McBride, J. Future demand for electricity generation materials  under different climate mitigation scenarios, Joule 2023, 7, 309–332.

Kis, Z.; Pandya, N.; Koppelaar, R.H.E.M. Electricity generation technologies: Comparison of materials use, energy return on investment, jobs creation and CO2 emissions reduction, Energy Policy 2018, 120, 144–157.

Lovering, J.; Swain, M.; Blomqvist, L.; Hernandez, R.R. Land-use intensity of electricity production and tomorrow’s energy landscape, PLoS ONE 2022, 17, e0270155.

Kristiansen Nøland, J.; Auxepaules, J.; Rousset, A.; Perney, B.; Falletti, G. Spatial energy density of large‑scale electricity generation from power sources worldwide, Sci. Rep. 2022, 12, 21280.

Smith, K.R.; Frumkin, H.; Balakrishnan, K.; Butler, C.D.; Chafe, Z.A.; Fairlie, I.; Kinney, P.; Kjellstrom, T.; Mauzerall, D.L.; McKone, T.E.; McMichael, A.J.; Schneider, M. Energy and Human Health, Annu. Rev. Public Health 2013, 34, 159–88.

Rahman, A.; Farrok, O.; Haque, M.M. Environmental impact of renewable energy source based electrical power plants: Solar, wind, hydroelectric, biomass, geothermal, tidal, ocean,and osmotic, Renew. Sustain. Energy Rev. 2022, 161, 112279.

Spang, E.S.; Moomaw, W.R.; Gallagher, K.S.; Kirshen, P.H.; Marks D.H. The water consumption of energy production: an international comparison. Environ. Res. Lett. 2014, 9, 105002.

Kabeyi M.J.B.; Olanrewaju O.A. The levelized cost of energy and modifications for use in electricity generation planning, Energy Rep. 2023, 9, 495–534

British Petroleum, Statistical Review of World Energy 2021 | 70th edition

Tamor, M.A.; Stechel, E.B. Electrification of transportation means a lot more than a lot more electric vehicles. iScience 25, 2022, 104376.

https://www.hepco.co.jp/english/environment/act_low_carbon_society.html

https://www.world-nuclear.org/information-library/energy-and-the-environment/carbon-dioxide-emissions-from-electricity.aspx

Pioro , I.; Duffey, R. Current and future nuclear power reactors and plants, in Letcher, T.M. ed. Managing Global Warming An Interface of Technology and Human Issues, Elsevier, 2019, Pages 117-197

Chesser, R.K.; Rodgers, B.E. Chernobyl, in  Encyclopedia of Toxicology (Fourth Edition),  2, 2014, p.p. 795-802

"World Health Organization report explains the health impacts of the world's worst-ever civil nuclear accident". World Health Organization. 26 April 2006

Kawashima, M.; Sawano, T.; Murakami, M.; Moriyama, N.; Kitazawa, K.; Uchi, Y.; Nonaka, S.; Ito, N.; Saito, H.; Abe, T.;   Sakakibara, M.; Yagiuchi, K.; Otsuki, M.; Hori, A.; Ozaki, A.; Yamamoto, C.; Zhao, T.; Uchiyama, T.; Oikawa, T.; Niwa, S.; Tsubokura, M. Association between the deaths indirectly caused by the Fukushima Daiichi nuclear power plant accident (disaster-related deaths) and pre-disaster long-term care certificate level: A retrospective observational analysis, Int. J. Disaster Risk Redu., 2023, 96, 103989.

Lars Kramm, L. The German Nuclear Phase-Out After Fukushima: A Peculiar Path or an Example for Others?, Renew,En. Law Policy Rev., 2012, 3, 251-262.

Liu, L.; Guo, H.; Dai, L.; Liu, M.; Xiao, Y., Cong, T.; Gu, H. The role of nuclear energy in the carbon neutrality goal, Progr. Nucl. En. 2023, 162, 104772

Hussein, E.M.A. Emerging small modular nuclear power reactors: A critical review. Physics Open, 2020, 5, 100038

Hassan, I.A.; Badawi, A.A.; El Saghir, A.; Mohamed, N.M.A.; Abdelmaksoud, A. Khalil, S.  Core analysis of fully ceramic microencapsulated fuel (FCM) for SMART reactor under normal operation and reactivity insertion accident, Nuclear Eng. Des. 2024, 419, 112915.

Jin, J.; Bang, I.C.  The time for revolutionizing small modular reactors: Cost reduction strategies from innovations in operation and maintenance, Progr. Nuclear En., 2024,174, 105288.

https://www.iaea.org/bulletin/nuclear-decommissioning-addressing-the-past-and-ensuring-the-future

Killingtveit, Å. Hydroelectric Power,  in Letcher, T.M. ed. Future Energy (Third Edition) Improved, Sustainable and Clean Options for our Planet, Elsevier,2020, Pages 315-330

Rahman, M.A.; Kim, J.H.; Hossain, S. Recent advances of energy storage technologies for grid: A comprehensive review, Energy Storage. 2022, 4, e322.

Yang, D.; Liu, J.; Yang, J.; Ding, N. Life-cycle assessment of China's multi-crystalline silicon photovoltaic modules considering international trade. J. Cleaner Prod. 2015, 94, 35-45.

Bye, G.; Ceccaroli, B. Solar grade silicon: Technology status and industrial trends, Solar En. Mater. Solar Cells 2014, 130, 634–646.

Maldonado, S. The Importance of New “Sand-to-Silicon” Processes for the Rapid Future Increase of Photovoltaics. ACS Energy Lett.  2020, 5, 3628−3632.

Ma, L.; Yu, Z.; Ma, W.; Qing, S.; Wu, J. Assessment and Study on the Impact on Environment by Multi-crystalline Silicon Preparation by Metallurgical Route. Silicon 2019, 11, 1383−1391.

Dai Pra, L.B. Comparison between the Energy Required for Production of PV Module and the Output Energy Througout the Product Life Time. J. En. Power Eng. 2015, 9, 592-597.

https://www.nrel.gov/docs/fy04osti/35489.pdf

https://www.iea.org/data-and-statistics/charts/utility-scale-pv-investment-cost-structure-by-component-and-by-commodity-breakdown

https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2021/Jun/IRENA_Power_Generation_Costs_2020_Summary.pdf?rev=99943124d5804ae38da7a7a6661f2cc7

Lazard’s Levelized Cost of Energy Analysis—Version 16.0 https://www.lazard.com/media/nltb551p/lazards-lcoeplus-april-2023.pdf

van deVen, D.J.; Capellan‑Peréz, I.; Arto, I.; Cazcarro, I.; de Castro, C-; Patel, P.; Gonzalez‑Eguino, M. The potential land requirements and related land use change emissions of solar energy, Scientific Reports, 2021, 11, 2907.

Long, J.; Lu, Z.; Miller, P.A.; Pongratz, J.; Guan, D.; Smith, B.; Zhu, Z.; Xu, J.; Zhang, Q. Large-scale photovoltaic solar farms in the Sahara affect solar power generation potential globally, Commun. Earth Envir. 2024, 5, 11.

Micheli, L.; Almonacid, F.; Bessa, J.G.; Fernandez-Solas, A.; Fernandez, E.F. The impact of extreme dust storms on the national photovoltaic energy supply, Sustain. En. Technol. Assess. 2024, 62, 103607.

Fakour, H.; Imani, M.; Lo, S.L.; Yuan, M.H.; Chen, C.K.; Mobasser, S.; Muangthai, I. Evaluation of solar photovoltaic carport canopy with electric vehicle charging potential, Sci. Reports 2023, 13, 2136.

Seo, B.; Kim, J.Y.; Chung, J. Overview of global status and challenges for end-of-life crystalline silicon photovoltaic panels: A focus on environmental impacts, Waste Manag. 2021, 128,45-54.

Kumari, N.;  Kumar Singh, S.; Kumar, S. A comparative study of different materials used for solar photovoltaics technology, Mater. Today: Proc. 2022, 66, 3522–3528.

Zhang, Y.; Liu, Y.; Li, S. Composition Engineering of Perovskite Single Crystals for High-Performance Optoelectronics, Adv. Funct. Mater. 2023, 33, 2210335

Solak, E.K.; Irmak, E. Advances in organic photovoltaic cells: a comprehensive review of materials, technologies,

and performance, RSC Adv., 2023, 13, 12244

Kurpas, D.; Mroczek, B.; Karakiewicz, B.; Kassolik, K.; Andrzejew, W. Health impact of wind farms, Agric. Environ. Med. . 2013, 20, 595-604.

Wang, S.; Wang, S. Impacts of wind energy on environment: A review, Renew. Sustain. En. Rev. 2015, 49, 437–443.

Kumara, H.N.; Babu, S.; Rao, G.B.; Mahato, S.; Bhattacharya, M.; Rao, N.V.R.; Tamiliniyan, D.; Parengal, H.; Deepak, D.; Balakrishnan, A.; Bilaska, M. Responses of birds and mammals to long‑established wind farms in India, Sci. Reports 2022, 12, 1339.

Liu , L.; Liu, P.; Yu, J.; Feng, G.; Zhang, Q.; Svenning, J.C. Wind farms increase land surface temperature and reduce vegetation productivity in the Inner Mongolia, Geography Sustain.  2024, 5, 319-328.

Farina, A.; Anctil, A. Material consumption and environmental impact of wind turbines in the USA and globally, Resources, Conserv. Recycl. 2022, 176, 105938.

https://guidetoanoffshorewindfarm.com/wind-farm-costs

Liu, P.; Barlow, C.Y. Wind turbine blade waste in 2050, Waste Manag. 2017, 62, 229–240.

Naeher, L.P.; Brauer ,M.; Lipsett, M.; Zelikoff ,J.T.; Simpson, C.D.; Koenig, J.Q.; Smith, K.R. Woodsmoke health effects: a review. Inhal Toxicol. 2007, 19, 67-106.

Singh, R.; Shukl, A. A review on methods of flue gas cleaning from combustion of biomass, Renew. Sustain. En. Rev. 2014, 29, 854–864.

Mishra, S.; Upadhyay, R.K. Review on biomass gasification: Gasifiers, gasifying mediums,  and operational parameters, Mater. Sci. En. Tech. 2021, 4, 329–340.

Wang, Z.; Liu, S.; Weng, W.; He, Y.; Aldén, M.; Li, Z. Alkali metal release in thermochemical conversion of biomass and coal: Optical measurements and modeling, Progr.  En. Comb. Sci. 2024, 100, 101131

de Oliveira, D.C.; Garcia-Péres, M.; Lora, E.E.S.; Venturini, O.J.; Maya, D.M.Y. Gas cleaning systems for integrating biomass gasification with Fischer-Tropsch synthesis - A review of impurity removal processes and their sequences, Renew. Sustain. En. Rev. 2023, 172, 113047.

Wang. X.; Song, C. Carbon Capture From Flue Gas and the Atmosphere: A Perspective, Front. Energy Res., 2020, 8, 560849.

Krekel, D.; Samsun, R.C.; Peters, R.; Stolten, D. The separation of CO2 from ambient air – A techno-economic assessment, Appl. Energy 2018, 218, 361-381.

Dziejarski, B.; Krzyzynska, R.; Andersson, K. Current status of carbon capture, utilization, and storage technologies in the global economy: A survey of technical assessment, Fuel 2023, 342, 127776.

Nagireddi, S.; Agarwal, J.R.; Vedapuri, D.; Carbon Dioxide Capture, Utilization, and Sequestration: CurrentStatus, Challenges, and Future Prospects for Global Decarbonization, ACS Eng. Au 2024, 4, 22–48.

Smit, B.; Reimer, J.R.; Oldenburg,C.M.; Bourg, I.C.I.C. Introduction to Carbon Capture and Sequestration, Imperial College Press, London, 1st edn, 2014

Dziejarski, B.; Krzyzynska, R.; Andersson, K. Current status of carbon capture, utilization, and storage technologies in the global economy: A survey of technical assessment, Fuel 2023, 342, 127776.

Hepburn,  C.; Adlen, E.; Beddington, J.; Carter, E.A.; Fuss, S.; Mac Dowell, N.; Minx, J.C.; Smith, P.; Williams, C.K. The technological and economic prospects for CO2 utilization and removal, Nature 2019, 575, 87-97.

Busca, G.; Spennati, E.; Riani,  P.; Garbarino, G. Mechanistic and compositional aspects of industrial catalysts for selective CO2 hydrogenation processes. Catalysts, 2024, 14, 95.

Blinov, I.; Zaitsev, I.; Kuchanskyy, V. Problems, Methods and Means of Monitoring Power Losses in Overhead Transmission Lines, in Babak, V.; Isaienko, V.; Zaporozhets, A., eds., Systems, Decision and Control in Energy, Springer, 2020, pp.123-136.

Masnicki, R.; Mindykowski, J.; Palczynska, B. Experiment-Based Study of Heat Dissipation from the Power Cable in a Casing Pipe, Energies 2022, 15, 4518.

Akbari, H.; Browne, M.C.; Ortega, A.; Huang, M.J.; Hewitt, N.J.; Norton, B.; McCormack, S.J. Efficient energy storage technologies for photovoltaic systems, Solar Energy, 2019, 192, 144–168.

Li, B.; Liu, Z.; Wu, Y. Wang, P.; Liu, R.; Zhang, L. Review on photovoltaic with battery energy storage system for power supply to buildings: Challenges and opportunities, J. Energy Stor. 2023, 61, 106763.

Mahmoud, M.; Ramadan, M.; Olabi, A.G.; Pullen, K.; Naher, S. A review of mechanical energy storage systems combined with wind and solar applications, Energy Conv. Manag. 202, 210, 112670.

Seabra Vieira, F.; Perrella Balestieri, J.A.; Matelli, J.A. Applications of compressed air energy storage in cogeneration systems, Energy 2021, 214, 118904

Hussam Jouhara, H. J.; Zabnienska-Gora, A.; Khordehgah, N.; Ahmad, D.; Lipinski, T. Latent thermal energy storage technologies and applications: A review, Int. J. Thermofluids 2020, 5-6, 100039.

Cot-Gores, J.; Castell, A.; Cabeza, L.F. Thermochemical energy storage and conversion: A-state-of-the-art review of the experimental research under practical conditions, Renew. Sustain. Energy Rev. 2012, 16, 5207–5224.

Masias, A.; Marcicki, J.; Paxton, W.A. Opportunities and Challenges of Lithium Ion Batteries in Automotive Applications, ACS Energy Lett. 2021, 6, 621−630

Khan, F.M.N.U.; Rasul, M.G.; Sayem, A.S.M.; Mandal, N. Maximizing energy density of lithium-ion batteries for electric  vehicles: A critical review,  Energy Reports 2023, 9, 11–21.

Abida, M.; Taba, M.;  Chakira, A.;  Hachimi, H. Routing and charging of electric vehicles: Literature review, Energy Rep. 2022, 8, 556–578

Weiss, M.; Ruess, R.; Kasnatscheew, J.; Levartovsky, Y.; Levy, N.R.; Minnmann, P.; Stolz, L.; Waldmann, T.; Wohlfahrt-Mehrens, M.; Aurbach,  D.; Winter, M.; Ein-Eli, Y.; Jane, J. Fast Charging of Lithium-Ion Batteries: A Reviewof Materials Aspects, Adv. Energy Mater. 2021, 11, 2101126

Lu, L.L.; Lu, Y.Y.; Zhu.Z.X.; Shao, J.X.; Yao, H.B.; Wamg, S.; Zang, T.W.; Ni, Y.; Wang, X.X.; Yu, S.H. Extremely fast-charging lithium ion battery enabled by dual-gradient structure design, Sci. Adv. 2022, 8, eabm6624.

Vikström, H.;  Davidsson, S.; Höök, M. Lithium availability and future production outlooks, Appl. Energy, 2013, 110, 252-266

Zhang, J.; Liang, C.; Dunn, J.B. Graphite Flows in the U.S.: Insights into a Key Ingredient of Energy Transition, Environ. Sci. Technol. 2023, 57, 8, 3402–3414

Harper, G.; Sommerville, R.; Kendrick, E.; Driscoll, L.; Slater, P.; Stolkin, R.; Walton, A.; Christensen, P.;  Heidrich, O.; Lambert, S.; Abbott, A.; Ryder, K.; Gaines, L.; Anderson, P. Recycling lithium-ion batteries from electric vehicles, Nature 2019, 575, 75–86.

Zhao, T.; Mahandra, H.; Marth, R.; Jid, X.;  Zhao, W.; Cha S.; Travers, M.; Li, W.; Yug, F.; Li, L.; Choi, Y.; Ghahreman, A.; Zhao, Z.; Zhang, C.; Kang, Y.; Lei, Y.; Song, Y. An overview on the life cycle of lithium iron phosphate: synthesis, modification, application, and recycling, Chem. Eng. J. 2024, 485, 149923

Chen, Y.; Kang, Y.; Zhao, Y.; Wang, Li; Liu, J.; Li, Y.; Liang, Z.; He, X.; Li, X.; Tavajohi. N.; Li, B. A review of lithium-ion battery safety concerns: The issues, strategies, and testing standards, J. Energy Chem. 2021, 59, 83–99.

Kong, L.; Li, C.; Jiang, J.; Pecht, M.G. Li-Ion Battery Fire Hazards and Safety Strategies, Energies 2018, 11, 2191.

Wu, P.; Zhou, W.; Su, X.; Li, J.; Su, M.; Zhou, X.; Sheldon, B.W.; Lu, W. Recent Advances in Conduction Mechanisms, Synthesis Methods, and Improvement Strategies for Li1+xAlxTi2−x(PO4)3 Solid Electrolyte for All-Solid-State Lithium Batteries, Advan. Energy Mat. 2022, 13, 2203440.

Guo, Y.; Wu, S.; He, Y.B.; Kang, F.; Chen, L.; Li, H.; Yang, Q.H. Solid-state lithium batteries: Safety and prospects, eScience 2022, 2, 138–163.

Zhao, L.; Zhang, T.; Li, W.; Li, W.; Li, T.; Zhang, L.; Zhang, X.; Wang, Z. Engineering of Sodium-Ion Batteries: Opportunities and Challenges,  Engineering 2023, 24, 172–183.

Anoopkumar, V.; John, B., Mercy, T.D. Potassium-Ion Batteries: Key to Future Large-Scale Energy Storage?, ACS Appl. Energy Mater. 2020, 3, 9478−9492

Elia, G.A.; Kravchyk, K.V.; Kovalenko, M.V.; Chacón, J.; Holland, A.; Wills, R.G.A. An overview and prospective on Al and Al-ion battery technologies, J. Power Sources, 2021, 481, 228870.

Yaqoob, L.; Noor, T.; Iqbal, N. An overview of metal-air batteries, current progress, and future perspectives, J. Energy Stor. 2022, 56, Part B, 106075.

Salama, M.; Rosy; Attias, R.; Yemini, R.; Gofer, Y.; Aurbach, D.; Noked, M.; Metal–Sulfur Batteries: Overview and Research Methods, ACS Energy Lett. 2019, 4, 2, 436–446

Simonte , G.; Di Rienzo, R.; Verani, A.; Nicodemo, N.; Baronti, F.; Roncella, R.; Saletti, R. Reliability Estimation of Commercial Na-NiCl2 Batteries Using Theoretical and Simulative Approaches, IEEE Access, 2023, 11, 87641-87651.

Ashok, A., Kumar, A. A comprehensive review of metalbased redox flow batteries: progress and perspectives, Green Chem. Lett. Rev. 2024, 17, 2302834.

Khan, T.; Kumar Garg, A.; Gupta, A.; Madan, A.K.; Jain, P.K.Comprehensive review on latest advances on rechargeable batteries, J. Energy Stor. 2023, 57, 106204

Sarmah, S.; Lakhanlal; Kakati, B.K.; Deka, D. Recent advancement in rechargeable battery technologies WIREs Energy Environ. 2023, 12, e461.

Duan, X.; Zhu, W.; Ruan, Z.; Xie, M.; Chen, J.; Ren, X. Recycling of Lithium Batteries-A Review. Energies 2022, 15, 1611.

https://www.europarl.europa.eu/topics/en/article/20220228STO24218/new-eu-rules-for-more-sustainable-and-ethical-batteries

Chatterjee, D.P.; Nandi, A.K. A review on the recent advances in hybrid supercapacitors, J. Mater. Chem. A, 2021, 9, 15880 .

Chakraborty, S.; Mary, N.L. An Overview on Supercapacitors and Its Applications, J. Electrochem. Soc., 2022, 169, 020552.

Elkafas, A.G.; Rivarolo, M.; Gadducci, E.; Magistri, L.; Massardo, A.F. Fuel Cell Systems for Maritime: A Review of Research Development, Commercial Products, Applications, and Perspectives, Processes 2023, 11,97.

Prinzhofer, A.; Tahara Cissé, C.S.; Boubacar Diallo, A. Discovery of a large accumulation of natural hydrogen in Bourakebougou (Mali), Int. J. Hydrogen En. 2018, 43, 19315-19326.

Zgonnik, V.  The occurrence and geoscience of natural hydrogen: A comprehensive review, Earth Sci. Rev., 2020, 203, 103140.

Scott, E. Exploring for native hydrogen, Nature Rev. Earth & Environ. 2021, 2, 589

Chai, S.; Zhang, G.; Li, G.; Zhang, Y. Industrial hydrogen production technology and development status in China: a review , Clean Technol. Envir. Pol. 2021, 23, 1931–1946.

Aasberg-Petersen, K.; Dybkjær, I.; Ovesen, C.V.; Schjødt, N.C.; Sehested, J.; Thomsen, S.G. Natural gas to synthesis gas - Catalysts and catalytic processes, J. Nat. Gas Sci. Eng. 2011, 3, 423-459.

Boretti, A.; Banik, B.K. Advances in Hydrogen Production from Natural Gas Reforming, Adv. Energy Sustainability Res. 2021, 2, 2100097

Dai, F.; Zhang, S.; Luo, Y.; Wang, K.; Liu, Y.; Ji, X. Recent Progress on Hydrogen-Rich Syngas Production from Coal Gasification. Processes 2023, 11, 1765

Ehlers, J.C.; Feidenhans, A.A.; Therkildsen, K.T.; Larrazábal, G.O. Affordable Green Hydrogen from Alkaline Water Electrolysis: Key Research Needs from an Industrial Perspective, ACS Energy Lett. 2023, 8, 1502−1509.

Wang, Y.; Pang, Y.; Xu, H.; Martinez, A.; Chen, K.S. PEM Fuel cell and electrolysis cell technologies and hydrogen infrastructure development – a review, Energy Environ. Sci., 2022, 15, 2288

Pinsky, R.; Sabharwall, P.; Hartvigsen, J.; O’Brien, J. Comparative review of hydrogen production technologies for nuclear hybrid energy systems, Progr. Nuclear En. 2020, 123, 103317.

Khan, S.N.; Yang, Z.; Dong, W.; Zhao, M. Cost and technology readiness level assessment of emerging technologies, new perspectives, and future research directions in H2 production, Sustain. En. Fuels, 2022, 6, 4357

Beenackers AACM, Swaaij WPM van. Methanol from wood I. Process principles and technologies for producing methanol from biomass. Int. J. Sol. Energy. 1984, 2, 349-367.

Rauch, R.; Hrbek, J.; Hofbauer, H. Biomass Gasification for Synthesis Gas Production and Applications of the Syngas, in Lund, P.D.; Byrne, J.; Berndes, G.; Vasalos, I.A. eds. Advances in Bioenergy: The Sustainability Challenge, Wiley, 2013, pp. 73-91

Lepage, T.; Kammoun, M.; Schmetz, Q.; Riche, A. Biomass-to-hydrogen: A review of main routes production, processes evaluation and techno-economical assessment, Biomass Bioen. 2021, 144, 105920.

Molino, A.; Chianese, S.; Musmarra, D.  Biomass gasification technology: The state of the art overview, J. En. Chem. 2016, 25, 10–25.

Sansaniwal, S.K.; Pal, K.; Rosen, M.A.; Tyagi, S.K.; Recent advances in the development of biomass gasification technology: A comprehensive review, Renew. Sustain. En. Rev. 2017, 72 363–384.

https://www.energy.gov/sites/prod/files/2015/04/f22/demonstration_market_transformation_knight_3417.pdf

Andersson, K.J.; Rasmussen, M.S.S.; Højlund Nielsen, P.E. Industrial-scale gas conditioning including Topsoe tar reforming and purification downstream biomass gasifiers: An overview and recent examples, Fuel 2017, 203, 1026–1030.

Narnaware, S.L.; Panwar, N.L. Catalysts and their role in biomass gasification and tar abatement: a review. Biomass Conv. Bioref. 2021 https://doi.org/10.1007/s13399-021-01981-1

Yu, J.; Guo, Q.; Gong, Y.; Ding, Lu; Wang, J.; Yu, G. A review of the effects of alkali and alkaline earth metal species on biomass gasification, Fuel Proc. Technol. 2021, 214, 106723.

Lopez, G.; Santamaria, L.; Lemonidou, A.; Zhang, S.; Wu, C.; Sipra, A.T.; Gao, N. Hydrogen generation from biomass by pyrolysis, Nature reviews, 2022, 2,  20.

Khan, I.U.; Othman, M.H.D.; Hashim, H.; Matsuura T.; Ismail A.F.; Rezaei-DashtArzhandi, M.; Wan Azelee, I.;  Biogas as a renewable energy fuel – A review of biogas upgrading, utilisation and storage, Energy Conv. Manag. 2017, 150, 277-294

García-Diéguez, M.; Finocchio, E.; Larrubia, M.A.; Alemany, L.J.; Busca, G. Characterization of alumina-supported Pt, Ni and PtNi alloy catalysts for the dry reforming of methane, J. Catal. 2010,  274 11–20.

Zhao, X.; Joseph, B.; Kuhn, J.;  Ozcan, S.; Biogas Reforming to Syngas: A Review, iScience 2020, 23, 101082

Phung, T.K.;  Busca, G. Selective Bioethanol Conversion to Chemicals and Fuels via Advanced Catalytic Approaches, in “Biorefinery of Alternative Resources: Targeting Green Fuels and Platform Chemicals”, Nanda, S.; Vo, D.-V. N.; Sarangi P.K. eds., Springer, 2020, pp.75-103.

Chen, W.H.; Biswas, P.P.; Hwai Chyuan Ong, H.C.; Hoang, A.T.; Nguyen, T.B.;Dong, C.D. A critical and systematic review of sustainable hydrogen production from ethanol/bioethanol: Steam reforming, partial oxidation, and autothermal reforming, Fuel,  2023, 333, 126526.

Garbarino, G.; Cavattoni, T.; Riani, P.; Brescia, R.; Canepa, F.; Busca, G. On the Role of Support in Metallic Heterogeneous Catalysis: A Study of Unsupported Nickel–Cobalt Alloy Nanoparticles in Ethanol Steam Reforming. Catal. Letters 2019, 149, 929–941.

https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/866383/Phase_1_-_Wood_-_Novel_Renewable_Ethanol_Steam_Reformer.pdf, accessed 14 may 2021

Oakley, J.H.; Hoadley, A.F.A. Industrial scale steam reforming of bioethanol: A conceptual study Int. J. Hydrogen En., 2010, 35, 8472-8485

Garbarino, G.; Pugliese, F.; Cavattoni, T.; Busca, G.; Costamagna, P. A Study on CO2 Methanation and Steam Methane Reforming over Commercial Ni/Calcium Aluminate Catalysts. Energies 2020, 13, 2792.

Di Nardo, A.; Portarapillo, M.; Russo, D.; Di Benedetto, A. Hydrogen production via steam reforming of different fuels: thermodynamic comparison, Int. J. Hydr. En. 2024, 55, 1143–1160.

Marquevich, M.; Farriol, X.; Medina, F.; Montané, D. Hydrogen Production by Steam Reforming of Vegetable Oils Using Nickel-Based Catalysts, Ind. Eng. Chem. Res. 2001, 40, 4757–4766

Setiabudi, H.D.; Aziz, M.A.A.; Abdullah, S.; The, L.P.; Jusoh, R. Hydrogen production from catalytic steam reforming of biomass pyrolysis oil or bio-oil derivatives: A review, Int. J. Hydrogen En. 2020, 45, 18376-18397

Wismann, S.T.; Engbæk, J.S.; Vendelbo, S.B.; Bendixen F.B.; Eriksen, W.L.; Aasberg-Petersen, K.; Frandsen, C.; Chorkendorff, I.; Mortensen, P.M. Electrified methane reforming: A compact approach to greener industrial hydrogen production, Science 2019, 364, 756–759.

www.energy.gov/eere/fuelcells/hydrogen-pipelines

www.energy.gov/eere/fuelcells/hydrogen-delivery

https://www.linde-gas.com/en/images/RLD_01_K19004_15_Hydrogen_Fuel_Tech_Broschuere_RZ_VIEW_tcm17-610582.pdf

Jensen, J.O.; Vestbø, A.P.; Li, Q.; Bjerrum, N.J. The energy efficiency of onboard hydrogen storage, J. Alloys Comp. 2007, 446–447, 723–728.

Peschka, W. Liquid Hydrogen. Springer-Verlag, New York, 1992.

Khwaja, S.A.; Paul, S. Inspection of Coated Hydrogen Transportation Pipelines, Appl. Sci. 2022, 12, 9503.

Kojima, Y. Hydrogen storage materials for hydrogen and energy carriers, Int. J. Hydr. En. 2019, 44,18179-18192.

Chen, Z.; Ma,Z.; Zheng, J.; Li, X.; Akiba, E.; Li, H.W. Perspectives and challenges of hydrogen storage in solid-state hydrides,  Chinese J. Chem. Eng. 2021, 29, 1–12

Klopčič, N. ; Grimmer, I. ; Winkler, F.; Sartory, M.; Trattner, A. A review on metal hydride materials for hydrogen storage, J. En. Storage, 2023, 72, Part B, 108456

Møller, K.T.; Jensen, T.R. ; Akibab, E.; Li, H.W. Hydrogen - A sustainable energy carrier, Progr. Nat. Sci. Mater. Intern. 2017, 27, 34–40.

Marques, F.; Balcerzak, M.; Winkelmann, F.; Zepon, G.; Felderhof, M. Review and outlook on high-entropy alloys for hydrogen storage, Energy Environ. Sci., 2021, 14, 5191

Shah, R.R.; Gupta, A.K.; Kumari, P. Perspectives of high entropy alloys as hydrogen storage materials, Int. J. Hydrogen En. 2023, 48, 21412-21428.

Chen, Z.; Kirlikovali, K.O.; Idrees, K.B.; Wasson, M.C.; Farha, O.K. Porous materials for hydrogen storage, Chem 2022, 8, 693–716.

Niermann, M.; Beckendorff, A.; Kaltschmitt, M.; Bonhoff, K. Liquid Organic Hydrogen Carrier (LOHC) - Assessment based on chemical and economic properties, Int. J. Hydr. En.  2019,  44, 6631-6654.

Oytun Oner, Kaveh Khalilpour, Evaluation of green hydrogen carriers: A multi-criteria decision analysis tool, Renew. Sust.En. Rev. 2022, 168, 112764

Emma Southall, Liliana Lukashuk, Analysis of Liquid Organic Hydrogen Carrier Systems, Johnson Matthey Technol. Rev., 2022, 66, 271–284.

Yang, F.; Wang, T.; Deng, X.; Dang, J.; Huang, Z.; Hu, S.; Li, Y.; Ouyang, M. A Review on hydrogen safety issues: Incident  statistics, hydrogen diffusion, and detonation  process Int. J. Hydrogen En. 2021, 46, 31467-31488.

Song, X.;  Deng, S.; Lu, H.; Li, W.; Wu, Y.; Li, B.; Xie, L.; Wang, M.; He, Y. Effects of hydrogen concentration, number of obstacles, and blockage ratio on vented hydrogen-air explosions and its consequence analysis, Appl. Therm. Eng., 2024, 249 123398

Su, Z.;  Liu, L.; Li, K.; Chen, X.; Chen, T.; Huang, C. Theoretical prediction model for minimum ignition energy of combustible gas mixtures, Int. J. Hydr. En.  2024, 69, 103–111.

Reddy, V.J.; Hariram, N.P.; Maity, R.; Ghazali, M.F.; Kumarasamy, S. Sustainable E-Fuels: Green Hydrogen, Methanol and Ammonia for Carbon-Neutral Transportation. World Electr. Veh. J. 2023, 14, 349

Shadidi, B.; Najafi, G.; Yusaf, T. A Review of Hydrogen as a Fuel in Internal Combustion Engines. Energies 2021, 14, 6209.

Teoh, Y.H.; How, H.G.; Le, T.D.; Nguyen, H.T.; Loo, D.L.; Rashid, T.; Sher, F. A review on production and implementation of hydrogen as a green fuel in internal combustion engines, Fuel 2023, 333, 126525

https://www.cycleworld.com/story/motorcycle-news/kawasaki-reveals-hydrogen-fueled-bike-plans/

https://global.toyota/en/newsroom/corporate/35209996.html

https://www.sae.org/news/2022/05/hydrogen-technology-commercial-trucks

https://www.bing.com/search?q=rolls+royce+hydrogen+turbines&cvid=69d34323cf1942a2bf7d50e89e1d08d3&aqs=edge..69i57.19130j0j1&pglt=41&FORM=ANSPA1&PC=ACTS

https://global.kawasaki.com/en/hydrogen/

Genovese, M.; Schluter, A.; Scionti, E.; Piraino, F.; Corigliano, O.; Fragiacomo, P. Power-to-hydrogen and hydrogen-to-X energy systems for the industry of the future in Europe, Int. J. Hydr. En. 2023, 48, 16545-16568.

Felseghi, R.A.; Carcadea, E.; Raboaca, M.S.; Trufin, C.N.; Filote, C. Hydrogen fuel cell technology for the sustainable future of stationary applications. Energies 2019, 12, 4593.

Cigolotti, V.; Genovese, M.; Fragiacomo, P. Comprehensive Review on Fuel Cell Technology for Stationary Applications as Sustainable and Efficient Poly-Generation Energy Systems. Energies 2021, 14, 4963.

Borup, R.L.; Kusoglu, A.; Neyerlin, K.C.; Mukundan, R.; Ahluwali, R.K.; Cullen, D.A.; More, K.L.; Weber, A.Z.; J. Myers, D.J. Recent developments in catalyst-related PEM fuel cell durability, Curr. Opin. Electrochemistry, 2020, 21, 192-200.

Ahluwalia, R.K.; Wang, X.; Peng, J.-K.; Konduru, V.; Arisetty, S.; Ramaswamy, N.; Kumaraguru, S. Achieving 5,000-h and 8,000-h Low-PGM Electrode Durability on Automotive Drive Cycles, J. Electrochem. Soc. 2021, 168, 044518.

Cullen, D.A.; Neyerlin, K.C.;Ahluwalia, R.K; Mukundan, R.; More, K.L; Borup, R.L.; Weber, A.Z.; Myers, D.J.; Kusoglu, A. New roads and challenges for fuel cells in heavy-duty transportation, Nature Energy 2021, 6, 462–474.

Rosli, R.E.; Sulong, A.B.; Daud, W.R.W.; Zulkifley, M.A.; Husaini, T.; Rosli, M.I.; Majlan, E.H.; Haque, M.A. A review of high-temperature proton exchange membrane fuel cell (HT-PEMFC) system, Int. J. Hydr. En. 2017, 42, 9293-9314.

Ferriday, T.B.; Middleton, P.H.  Alkaline fuel cell technology - A review, Int. J. Hydr. En. 2021, 46, 18489-18510.

Hren, M.; Bǒzic, M.; Fakin, D.; Kleinschek, K.S.; Gorgieva, S. Alkaline membrane fuel cells: anion exchange membranes and fuels, Sustain. Energy Fuels, 2021, 5, 604

Sammes, N.; Bove, R.; Stahl, K. Phosphoric acid fuel cells: Fundamentals and applications, Curr. Opin. Solid State Mater. Scie. 2004, 8, 372–378.

Dwivedi, S. Solid oxide fuel cell: Materials for anode, cathode and electrolyte, Int. J. Hydr. En.2020, 45, 23988-24013.

Golkhatmi, S.Z.; Asghar, M.I.; Lund, P.D. A review on solid oxide fuel cell durability: Latest progress, mechanisms, and study tools. Renew. Sustain. En. Rev. 2022, 161, 112339.

Comparison of Fuel Cell Technologies (energy.gov) https://www.energy.gov/eere/fuelcells/articles/comparison-fuel-cell-technologies-fact-sheet

Kulkarni, A.; Giddey, S. Materials issues and recent developments in molten carbonate fuel cells, J. Solid State Electrochem. 2012,  16, 3123–3146.

Contreras, R.R.; Almarza, J.; Rincó, L. Molten carbonate fuel cells: a technological perspective and review, Energy Sources, A, 2021, DOI: 10.1080/15567036.2021.2013346

Wang, Fu; Deng, S.; Zhang, H.; Wang, J.; Zhao, J.; Miao He, Yuan, J.; Yan, J. A comprehensive review on high-temperature fuel cells with carbon capture. Appl. Energy. 2020, 275, 11534

- Sheikh, A.A.; Bianchi, F.R.; Bove, D.; Bosio, B.  A review on MCFC matrix: State-of-the-art, degradation mechanisms and technological improvements, Heliyon 2024, 10, e25847.

Ferguson, S.; Tarrant, A. Molten Carbonate Fuel Cells for 90% Post Combustion CO2 Capture From a New Build CCGT, Front. Energy Res. 2021, 9, 668431.

Jue Tang, , Man-sheng Chu, , Feng Li, , Cong Feng, , Zheng-gen Liu, Y. Zhou, Y. Development and progress on hydrogen metallurgy, Int. J. Miner., Metallurgy Mater.2020, 27, 713.

Wang, R.R.; Zhao, Y.Q.; Babich, A.; Senk, D.; Fan, X.Y. Hydrogen direct reduction (H-DR) in steel industry—An overview of challenges and opportunities, J. Cleaner Prod. 2021, 329, 129797

Yang, Y.; Xu, W.; Wang, Y.; Shen, J.; Wang, Y.; Geng, Z.; Wang, Q.; Zhu, T. Progress of CCUS technology in the iron and steel industry and the suggestion of the integrated application schemes for China, Chem. Eng. J. 2022, 450, 138438.

https://www.linde-engineering.com/en/about-linde-engineering/success-stories/hydrogen-for-the-petrochemical-sector.html

Nemmour, A.; Inayat, A.; Janajreh, I.; Ghenai, C. Green hydrogen-based E-fuels (E-methane, E-methanol, E-ammonia) to support clean energy transition: A literature review, Int. J. Hydr. En. 2023, 48, 29011-29033,

https://www.shippingitaly.it/2024/04/06/battezzata-astrid-maersk-seconda-nave-della-flotta-maersk-a-metanolo/

Melendez, J.R.; Mátyás, B.; Hena, S.; Lowy, D.A.; El Salous, A. Perspectives in the production of bioethanol: A review of sustainable methods, technologies, and bioprocesses, Renew. Sustain. En. Rev. 2022, 160, 112260.

Hoekmanetal, S.K.; Broch, A.; Robbins, C.; Ceniceros, E.; Natarajan, M. Review of biodiesel composition, properties, and specifications, Renew. Sustain. En. Rev. 2012, 16, 143–165.

Afonso, F.; Sohst, M.; Diogo, C.M.A.; Rodrigues, S.S.; Ferreira, A.; Ribeiro, I.; Marques, R.; Rego, F.F.C.; Sohouli, A.; Portugal-Pereira, J.; Policarpo, H.; Soares, B.; Ferreira, B.; Fernandes, E.C.; Lau, F.; Suleman, A. Strategies towards a more sustainable aviation: A systematic review, Progr. Aerospace Sci. 2023,  137, 1008782

Rony, Z.I.; Mofijur, M.; Hasan, M.M.; Rasul, M.G.; Jahirul, M.I.; Ahmed, S.F.; Kalam, M.A.; Badruddin, I.A.; Yunus Khan, T.M.; Show, P.L. Alternative fuels to reduce greenhouse gas emissions from marine transport and promote UN sustainable development goals Fuel 2023, 338, 127220